## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-12-23
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 66.4 |  | 33.6 |  | 44.1 | 72.1
Low: |  | 52 |  | -3.8 |  | 36.5 | 55.9
Conditions: |  | Patchy rain nearby |  | Sunny |  | Patchy rain nearby | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 68492.2999 | 18 | 9726.8994 |  | 4451.9995 | 17907.3
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13264.5129 | 18 | 2765 |  | 862.1933 | 8634.97
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32625.6038 | 18 | 4868.38 |  | 2717.38 | 17811.34
Includes CFE, CISO & LDWP
WI TOTAL |  | 114382.4166 | 18 | 17360.2794 |  | 7380.9754 | 43967.61
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 73161 | 18 | 13505
SRSG |  | 13597 | 18 | 4840
CAMX* |  | 32906 | 11 | 5904
WI TOTAL |  | 118884 | 18 | 23507
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 33.6
Low (F) | -3.8
Sunny |  | 68492.2999 | 71.8% | 71.8% | 28.2% | 68,492 MW
|  | 13264.5129 | 53.49% | 53.49% | 46.51% | 13,265 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 51.3 | 32625.6038 | 62.03% | 62.03% | 37.97% | 32,626 MW
Low (F) | 41.2
Patchy rain nearby
Billings, MT
High (F) | 48.7
Low (F) | 31.6
Sunny
Loveland, CO
High (F) | 60.6
Low (F) | 35.2
Sunny
Los Angeles, CA
High (F) | 63.5
Low (F) | 56.5
Patchy rain nearby
Phoenix, AZ
High (F) | 86.9
Low (F) | 51.6
Patchy rain nearby
Salt Lake City, UT
High (F) | 71.8
Low (F) | 45
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
68,492 MW
13,265 MW
32,626 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend