## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-12-24
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 57.4 |  | 4.6 |  | 51.1 | 79
Low: |  | 54.1 |  | -0.6 |  | 38.1 | 56.5
Conditions: |  | Heavy rain |  | Light freezing rain |  | Moderate rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 65668.1613 | 18 | 10774.722 |  | 4268.4305 | 18097.47
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12630.0628 | 17 | 2784 |  | 771.8 | 7517.49
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30524.8787 | 18 | 4445.37 |  | 2290.37 | 16808.35
Includes CFE, CISO & LDWP
WI TOTAL |  | 108764.6342 | 18 | 18010.092 |  | 6926.143 | 41971.31
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 73022 | 18 | 13719
SRSG |  | 13237 | 17 | 5423
CAMX* |  | 32684 | 12 | 5825
WI TOTAL |  | 118416 | 18 | 24255
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 4.6
Low (F) | -0.6
Light freezing rain |  | 65668.1613 | 68.84% | 68.84% | 31.16% | 65,668 MW
|  | 12630.0628 | 50.93% | 50.93% | 49.07% | 12,630 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 57.6 | 30524.8787 | 58.04% | 58.04% | 41.96% | 30,525 MW
Low (F) | 40.5
Patchy rain nearby
Billings, MT
High (F) | 51.6
Low (F) | 31.1
Cloudy
Loveland, CO
High (F) | 64.4
Low (F) | 38.5
Partly Cloudy
Los Angeles, CA
High (F) | 64.2
Low (F) | 57
Heavy rain
Phoenix, AZ
High (F) | 72
Low (F) | 60.3
Patchy rain nearby
Salt Lake City, UT
High (F) | 67.1
Low (F) | 46.8
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
65,668 MW
12,630 MW
30,525 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend