## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-01-05
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 62.2 |  | 22.6 |  | 46.2 | 63.9
Low: |  | 47 |  | 5.7 |  | 35.4 | 35.2
Conditions: |  | Patchy rain nearby |  | Sunny |  | Partly Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 49640.6597 | 18 | 7333.6349 |  | 3226.6429 | 16126.58
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13050.8453 | 18 | 2998 |  | 786.3 | 8325.63
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33139.4205 | 19 | 4065.2 |  | 2793.2 | 14623.11
Includes CFE, CISO & LDWP
WI TOTAL |  | 95728.8792 | 18 | 14262.3849 |  | 6349.6709 | 38593.32
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 71181 | 18 | 13080
SRSG |  | 13280 | 18 | 4808
CAMX* |  | 31049 | 13 | 5782
WI TOTAL |  | 115072 | 18 | 23001
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 22.6
Low (F) | 5.7
Sunny |  | 49640.6597 | 52.04% | 52.04% | 47.96% | 49,641 MW
|  | 13050.8453 | 52.63% | 52.63% | 47.37% | 13,051 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 48.7 | 33139.4205 | 63.01% | 63.01% | 36.99% | 33,139 MW
Low (F) | 36.9
Sunny
Billings, MT
High (F) | 54.7
Low (F) | 31.9
Sunny
Loveland, CO
High (F) | 59.5
Low (F) | 31.5
Sunny
Los Angeles, CA
High (F) | 66
Low (F) | 50.9
Patchy rain nearby
Phoenix, AZ
High (F) | 71.2
Low (F) | 57.4
Sunny
Salt Lake City, UT
High (F) | 49.6
Low (F) | 32.2
Moderate rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
49,641 MW
13,051 MW
33,139 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend