## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-01-15
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 65.1 |  | 40.6 |  | 51.6 | 47.7
Low: |  | 45.1 |  | 26.1 |  | 41.1 | 29.3
Conditions: |  | Sunny |  | Sunny |  | Partly Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 59737.4252 | 18 | 7122.738 |  | 3882.9326 | 23547.95
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13276.6947 | 7 | 1994 |  | 802.18 | 9950.43
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31837.3641 | 19 | 3743.35 |  | 2660.35 | 22698.2
Includes CFE, CISO & LDWP
WI TOTAL |  | 104638.5489 | 18 | 13649.348 |  | 6802.7672 | 55930.58
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 71617 | 18 | 13469
SRSG |  | 13382 | 18 | 4993
CAMX* |  | 32199 | 15 | 23710
WI TOTAL |  | 115993 | 18 | 35835
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2026-01-14 | WACM | Path 36 |  | 4 | 1

## Map
95
Weather Information
Calgary, AB
High (F) | 40.6
Low (F) | 26.1
Sunny |  | 59737.4252 | 62.62% | 62.62% | 37.38% | 59,737 MW
|  | 13276.6947 | 53.54% | 53.54% | 46.46% | 13,277 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 53.4 | 31837.3641 | 60.53% | 60.53% | 39.47% | 31,837 MW
Low (F) | 37.2
Partly Cloudy
Billings, MT
High (F) | 42.4
Low (F) | 28.2
Overcast
Loveland, CO
High (F) | 63.1
Low (F) | 30.9
Sunny
Los Angeles, CA
High (F) | 78.6
Low (F) | 57.2
Sunny
Phoenix, AZ
High (F) | 79.3
Low (F) | 48.9
Sunny
Salt Lake City, UT
High (F) | 43.5
Low (F) | 24.7
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
59,737 MW
13,277 MW
31,837 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend