## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-01-16
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 65.3 |  | 32.4 |  | 50.5 | 42.3
Low: |  | 45.5 |  | 19.2 |  | 37.8 | 38.8
Conditions: |  | Sunny |  | Sunny |  | Sunny | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60684.9358 | 8 | 9029.8353 |  | 3846.5653 | 24304.23
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13543.8054 | 7 | 2013 |  | 880.3474 | 9638.81
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31046.06 | 19 | 4182.85 |  | 2814.85 | 22083.88
Includes CFE, CISO & LDWP
WI TOTAL |  | 104197.7527 | 18 | 14188.641 |  | 7121.381 | 55704.92
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 72693 | 18 | 11715
SRSG |  | 13568 | 7 | 4315
CAMX* |  | 34064 | 14 | 6358
WI TOTAL |  | 117898 | 18 | 21314
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 32.4
Low (F) | 19.2
Sunny |  | 60684.9358 | 63.62% | 63.62% | 36.38% | 60,685 MW
|  | 13543.8054 | 54.62% | 54.62% | 45.38% | 13,544 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 45.9 | 31046.06 | 59.03% | 59.03% | 40.97% | 31,046 MW
Low (F) | 34.5
Sunny
Billings, MT
High (F) | 30.9
Low (F) | 23.1
Partly Cloudy
Loveland, CO
High (F) | 41.2
Low (F) | 23.2
Sunny
Los Angeles, CA
High (F) | 71.1
Low (F) | 53.2
Partly Cloudy
Phoenix, AZ
High (F) | 74.3
Low (F) | 44.6
Sunny
Salt Lake City, UT
High (F) | 27
Low (F) | 20.7
Mist
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,685 MW
13,544 MW
31,046 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend