## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-01-21
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 63.9 |  | 27.1 |  | 50 | 51.4
Low: |  | 45.7 |  | 11.5 |  | 34.3 | 33.1
Conditions: |  | Fog |  | Sunny |  | Partly Cloudy | Moderate rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 71030.4834 | 9 | 8771.3546 |  | 4616.9814 | 20653.47
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14069.508 | 7 | 998 |  | 914.518 | 10193.91
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32021.142 | 19 | 4220.77 |  | 2618.77 | 23235.69
Includes CFE, CISO & LDWP
WI TOTAL |  | 113390.7478 | 9 | 14128.3546 |  | 7570.6896 | 53736.07
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 77731 | 8 | 12415
SRSG |  | 12649 | 7 | 3806
CAMX* |  | 33627 | 15 | 5514
WI TOTAL |  | 121696 | 8 | 22265
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 27.1
Low (F) | 11.5
Sunny |  | 71030.4834 | 74.46% | 74.46% | 25.54% | 71,030 MW
|  | 14069.508 | 56.74% | 56.74% | 43.26% | 14,070 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 50.9 | 32021.142 | 60.88% | 60.88% | 39.12% | 32,021 MW
Low (F) | 30.6
Sunny
Billings, MT
High (F) | 37.9
Low (F) | 22.5
Sunny
Loveland, CO
High (F) | 40.3
Low (F) | 16.7
Partly Cloudy
Los Angeles, CA
High (F) | 59.9
Low (F) | 51.1
Overcast
Phoenix, AZ
High (F) | 79.3
Low (F) | 43.2
Sunny
Salt Lake City, UT
High (F) | 53.6
Low (F) | 25
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
71,030 MW
14,070 MW
32,021 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend