## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-01-22
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 60.3 |  | 9 |  | 45.9 | 46.8
Low: |  | 43.7 |  | 2.5 |  | 30.7 | 33.1
Conditions: |  | Fog |  | Partly Cloudy |  | Cloudy | Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 72311.7405 | 8 | 10611.9114 |  | 4700.2631 | 22009.78
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13764.1699 | 7 | 1764 |  | 894.671 | 9539.36
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31618.7944 | 19 | 3882.23 |  | 2653.23 | 24246.72
Includes CFE, CISO & LDWP
WI TOTAL |  | 116203.3241 | 19 | 15716.5855 |  | 7523.2565 | 55440.86
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 78460 | 8 | 12651
SRSG |  | 14580 | 7 | 3870
CAMX* |  | 33296 | 12 | 6409
WI TOTAL |  | 123636 | 8 | 21619
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 9
Low (F) | 2.5
Partly Cloudy |  | 72311.7405 | 75.8% | 75.8% | 24.2% | 72,312 MW
|  | 13764.1699 | 55.51% | 55.51% | 44.49% | 13,764 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 47.7 | 31618.7944 | 60.12% | 60.12% | 39.88% | 31,619 MW
Low (F) | 31.6
Sunny
Billings, MT
High (F) | 26.1
Low (F) | 9.1
Sunny
Loveland, CO
High (F) | 36
Low (F) | 14.7
Sunny
Los Angeles, CA
High (F) | 64
Low (F) | 54.1
Patchy rain nearby
Phoenix, AZ
High (F) | 79.2
Low (F) | 45.9
Sunny
Salt Lake City, UT
High (F) | 52.2
Low (F) | 25.2
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
72,312 MW
13,764 MW
31,619 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend