## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-01-23
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 50.9 |  | 15.3 |  | 49.3 | 37.6
Low: |  | 41.9 |  | -4.2 |  | 34.5 | 26.1
Conditions: |  | Mist |  | Partly Cloudy |  | Sunny | Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 71772.7424 | 8 | 10127.4041 |  | 4318.8901 | 20407.04
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13065.0219 | 7 | 2076 |  | 809.72 | 9461.6
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30913.8013 | 19 | 3484.86 |  | 2261.86 | 22897.41
Includes CFE, CISO & LDWP
WI TOTAL |  | 114619.5641 | 18 | 16514.6547 |  | 7406.6227 | 52523.05
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 78196 | 8 | 11432
SRSG |  | 14091 | 7 | 4190
CAMX* |  | 34762 | 13 | 6020
WI TOTAL |  | 122802 | 8 | 20748
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 15.3
Low (F) | -4.2
Partly Cloudy |  | 71772.7424 | 75.24% | 75.24% | 24.76% | 71,773 MW
|  | 13065.0219 | 52.69% | 52.69% | 47.31% | 13,065 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 46.2 | 30913.8013 | 58.77% | 58.77% | 41.23% | 30,914 MW
Low (F) | 30.4
Sunny
Billings, MT
High (F) | 7.3
Low (F) | -0.6
Light freezing rain
Loveland, CO
High (F) | 25.5
Low (F) | 9.3
Light freezing rain
Los Angeles, CA
High (F) | 63
Low (F) | 54.3
Mist
Phoenix, AZ
High (F) | 72
Low (F) | 55.2
Partly Cloudy
Salt Lake City, UT
High (F) | 45
Low (F) | 24.8
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
71,773 MW
13,065 MW
30,914 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend