## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-01-27
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 61.2 |  | 45.3 |  | 55.4 | 43.3
Low: |  | 38.8 |  | 8.4 |  | 35.6 | 11.7
Conditions: |  | Sunny |  | Sunny |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 72860.2459 | 8 | 10512.9015 |  | 4735.916 | 20495.88
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14757.1031 | 7 | 1742 |  | 959.2117 | 9334.21
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31765.8002 | 19 | 3959.99 |  | 2972.99 | 23248.02
Includes CFE, CISO & LDWP
WI TOTAL |  | 117696.3388 | 8 | 16609.1215 |  | 7679.1905 | 52929.11
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 81204 | 9 | 12810
SRSG |  | 15344 | 7 | 3862
CAMX* |  | 33589 | 12 | 6178
WI TOTAL |  | 127429 | 8 | 22961
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 45.3
Low (F) | 8.4
Sunny |  | 72860.2459 | 76.38% | 76.38% | 23.62% | 72,860 MW
|  | 14757.1031 | 59.51% | 59.51% | 40.49% | 14,757 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 56.1 | 31765.8002 | 60.39% | 60.39% | 39.61% | 31,766 MW
Low (F) | 34.3
Patchy rain nearby
Billings, MT
High (F) | 53.6
Low (F) | 21.9
Sunny
Loveland, CO
High (F) | 53.6
Low (F) | 21.2
Sunny
Los Angeles, CA
High (F) | 80.4
Low (F) | 49.6
Sunny
Phoenix, AZ
High (F) | 77.7
Low (F) | 41.4
Sunny
Salt Lake City, UT
High (F) | 55.2
Low (F) | 27.3
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
72,860 MW
14,757 MW
31,766 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend