## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-01-29
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 61.2 |  | 50.4 |  | 50 | 42.3
Low: |  | 41.4 |  | 29.7 |  | 45 | 19.4
Conditions: |  | Sunny |  | Sunny |  | Moderate rain | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 59592.0439 | 18 | 6701.2734 |  | 3873.4829 | 20037.74
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14201.5583 | 7 | 1659 |  | 923.1013 | 9341.79
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31594.6676 | 19 | 3530.2 |  | 2537.2 | 22854.99
Includes CFE, CISO & LDWP
WI TOTAL |  | 104525.0475 | 19 | 12327.7771 |  | 6773.2871 | 52073.52
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 74517 | 8 | 12622
SRSG |  | 14489 | 7 | 3951
CAMX* |  | 33342 | 15 | 6580
WI TOTAL |  | 119558 | 8 | 23832
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 50.4
Low (F) | 29.7
Sunny |  | 59592.0439 | 62.47% | 62.47% | 37.53% | 59,592 MW
|  | 14201.5583 | 57.27% | 57.27% | 42.73% | 14,202 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 56.7 | 31594.6676 | 60.07% | 60.07% | 39.93% | 31,595 MW
Low (F) | 41.7
Patchy rain nearby
Billings, MT
High (F) | 55
Low (F) | 26.2
Sunny
Loveland, CO
High (F) | 52
Low (F) | 24.1
Sunny
Los Angeles, CA
High (F) | 85.8
Low (F) | 46.4
Sunny
Phoenix, AZ
High (F) | 81.1
Low (F) | 43.9
Sunny
Salt Lake City, UT
High (F) | 50.2
Low (F) | 26.8
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
59,592 MW
14,202 MW
31,595 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend