## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-02-06
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 75.7 |  | 67.1 |  | 61.5 | 75.9
Low: |  | 51.6 |  | 35.8 |  | 43.5 | 41
Conditions: |  | Sunny |  | Partly Cloudy |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 57514.5576 | 8 | 8643.9827 |  | 3738.4462 | 21635.74
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12777.8091 | 7 | 1895 |  | 769.39 | 9888.97
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30276.1083 | 19 | 3829.56 |  | 2636.56 | 22151.13
Includes CFE, CISO & LDWP
WI TOTAL |  | 98365.1044 | 19 | 13099.9573 |  | 6722.7833 | 53395.84
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 71328 | 8 | 16025
SRSG |  | 13430 | 19 | 4349
CAMX* |  | 32092 | 10 | 6633
WI TOTAL |  | 114431 | 8 | 26945
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 67.1
Low (F) | 35.8
Partly Cloudy |  | 57514.5576 | 60.29% | 60.29% | 39.71% | 57,515 MW
|  | 12777.8091 | 51.53% | 51.53% | 48.47% | 12,778 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 58.3 | 30276.1083 | 57.56% | 57.56% | 42.44% | 30,276 MW
Low (F) | 36.9
Sunny
Billings, MT
High (F) | 63.9
Low (F) | 34.3
Sunny
Loveland, CO
High (F) | 66.2
Low (F) | 32.9
Sunny
Los Angeles, CA
High (F) | 63.9
Low (F) | 56.8
Patchy rain nearby
Phoenix, AZ
High (F) | 87.4
Low (F) | 55.6
Sunny
Salt Lake City, UT
High (F) | 63.7
Low (F) | 30.7
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
57,515 MW
12,778 MW
30,276 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend