## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-02-11
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 61.2 |  | 50.4 |  | 54.9 | 59.9
Low: |  | 48.9 |  | 26.8 |  | 39 | 46.8
Conditions: |  | Patchy rain nearby |  | Sunny |  | Sunny | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 59015.4186 | 8 | 8908.2776 |  | 4185.5476 | 19272.27
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13030.2741 | 18 | 2433 |  | 862.53 | 10502.05
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31221.8442 | 19 | 3709.82 |  | 2716.82 | 22048.72
Includes CFE, CISO & LDWP
WI TOTAL |  | 101859.1957 | 19 | 13570.7343 |  | 7539.4993 | 51533.04
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 71645 | 8 | 12970
SRSG |  | 13412 | 18 | 4326
CAMX* |  | 34397 | 14 | 6097
WI TOTAL |  | 114798 | 18 | 23584
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 50.4
Low (F) | 26.8
Sunny |  | 59015.4186 | 61.87% | 61.87% | 38.13% | 59,015 MW
|  | 13030.2741 | 52.55% | 52.55% | 47.45% | 13,030 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 57.4 | 31221.8442 | 59.36% | 59.36% | 40.64% | 31,222 MW
Low (F) | 37.2
Sunny
Billings, MT
High (F) | 50.4
Low (F) | 28
Sunny
Loveland, CO
High (F) | 61.5
Low (F) | 21.9
Sunny
Los Angeles, CA
High (F) | 63
Low (F) | 56.7
Moderate rain
Phoenix, AZ
High (F) | 85.1
Low (F) | 58.5
Partly Cloudy
Salt Lake City, UT
High (F) | 55
Low (F) | 38.3
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
59,015 MW
13,030 MW
31,222 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend