## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-02-12
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 65.3 |  | 52.3 |  | 50.4 | 64.6
Low: |  | 46.4 |  | 29.3 |  | 36.5 | 36.9
Conditions: |  | Sunny |  | Sunny |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 59407.0332 | 8 | 8537.3047 |  | 3614.9137 | 20505.83
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13027.6264 | 19 | 1540 |  | 844.63 | 10312.13
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30577.1212 | 19 | 3821.82 |  | 2690.82 | 23685.88
Includes CFE, CISO & LDWP
WI TOTAL |  | 101086.3475 | 19 | 13389.6767 |  | 6915.2577 | 54034.84
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 73174 | 8 | 13874
SRSG |  | 13364 | 18 | 4622
CAMX* |  | 33348 | 14 | 6497
WI TOTAL |  | 114769 | 9 | 26081
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 52.3
Low (F) | 29.3
Sunny |  | 59407.0332 | 62.28% | 62.28% | 37.72% | 59,407 MW
|  | 13027.6264 | 52.54% | 52.54% | 47.46% | 13,028 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 56.1 | 30577.1212 | 58.13% | 58.13% | 41.87% | 30,577 MW
Low (F) | 37.6
Sunny
Billings, MT
High (F) | 58.6
Low (F) | 26.6
Sunny
Loveland, CO
High (F) | 57.9
Low (F) | 30.9
Sunny
Los Angeles, CA
High (F) | 67.8
Low (F) | 49.1
Sunny
Phoenix, AZ
High (F) | 84.7
Low (F) | 52.3
Sunny
Salt Lake City, UT
High (F) | 50.5
Low (F) | 35.4
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
59,407 MW
13,028 MW
30,577 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend