## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-02-24
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 61.2 |  | 39 |  | 48 | 66
Low: |  | 54.7 |  | 8.4 |  | 34.7 | 30.6
Conditions: |  | Moderate rain |  | Sunny |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 66312.1642 | 19 | 10635.119 |  | 4406.705 | 20747.64
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13670.279 | 18 | 2444 |  | 888.5681 | 9891.85
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32042.8986 | 19 | 2886.91 |  | 2408.91 | 26557.86
Includes CFE, CISO & LDWP
WI TOTAL |  | 111970.6689 | 19 | 14979.029 |  | 7587.715 | 56859.35
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 72792 | 18 | 13589
SRSG |  | 13821 | 18 | 4823
CAMX* |  | 32093 | 12 | 6466
WI TOTAL |  | 118117 | 18 | 23830
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 39
Low (F) | 8.4
Sunny |  | 66312.1642 | 69.51% | 69.51% | 30.49% | 66,312 MW
|  | 13670.279 | 55.13% | 55.13% | 44.87% | 13,670 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 47.5 | 32042.8986 | 60.92% | 60.92% | 39.08% | 32,043 MW
Low (F) | 41.2
Moderate rain
Billings, MT
High (F) | 43.5
Low (F) | 30
Moderate rain
Loveland, CO
High (F) | 65.5
Low (F) | 31.3
Sunny
Los Angeles, CA
High (F) | 79
Low (F) | 52.3
Sunny
Phoenix, AZ
High (F) | 90.5
Low (F) | 51.1
Sunny
Salt Lake City, UT
High (F) | 57
Low (F) | 38.3
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
66,312 MW
13,670 MW
32,043 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend