## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-02-25
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 65.5 |  | 44.8 |  | 45.3 | 68.2
Low: |  | 54 |  | 23.9 |  | 34.3 | 48.2
Conditions: |  | Patchy rain nearby |  | Partly Cloudy |  | Patchy rain nearby | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 66547.8259 | 19 | 10504.5635 |  | 4325.6087 | 21420.22
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14216.9834 | 18 | 2451 |  | 924.1039 | 9570.11
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32160.4319 | 19 | 3673.54 |  | 2584.54 | 25862.86
Includes CFE, CISO & LDWP
WI TOTAL |  | 112828.2564 | 19 | 15562.1035 |  | 7182.7705 | 56548.19
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 71246 | 8 | 14574
SRSG |  | 13863 | 18 | 4910
CAMX* |  | 33463 | 11 | 6895
WI TOTAL |  | 116643 | 19 | 21634
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 44.8
Low (F) | 23.9
Partly Cloudy |  | 66547.8259 | 69.76% | 69.76% | 30.24% | 66,548 MW
|  | 14216.9834 | 57.33% | 57.33% | 42.67% | 14,217 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 49.6 | 32160.4319 | 61.14% | 61.14% | 38.86% | 32,160 MW
Low (F) | 35.1
Partly Cloudy
Billings, MT
High (F) | 54.7
Low (F) | 32.7
Sunny
Loveland, CO
High (F) | 69.4
Low (F) | 37.2
Sunny
Los Angeles, CA
High (F) | 73.4
Low (F) | 50.9
Fog
Phoenix, AZ
High (F) | 92.3
Low (F) | 54.9
Sunny
Salt Lake City, UT
High (F) | 59.9
Low (F) | 43.2
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
66,548 MW
14,217 MW
32,160 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend