## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-02-26
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 74.3 |  | 51.4 |  | 49.5 | 76.6
Low: |  | 53.1 |  | 28.6 |  | 42.4 | 53.6
Conditions: |  | Sunny |  | Sunny |  | Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 65918.9309 | 19 | 10093.0686 |  | 4284.7305 | 24413.11
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14535.8333 | 18 | 2432 |  | 944.8292 | 10044.73
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33139.5309 | 19 | 3929 |  | 2720 | 28198.1
Includes CFE, CISO & LDWP
WI TOTAL |  | 113383.8403 | 19 | 15470.0686 |  | 7318.9786 | 62340.94
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 71244 | 8 | 16592
SRSG |  | 14289 | 18 | 5224
CAMX* |  | 33067 | 16 | 6917
WI TOTAL |  | 117069 | 18 | 25997
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 51.4
Low (F) | 28.6
Sunny |  | 65918.9309 | 69.1% | 69.1% | 30.9% | 65,919 MW
|  | 14535.8333 | 58.62% | 58.62% | 41.38% | 14,536 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 51.1 | 33139.5309 | 63.01% | 63.01% | 36.99% | 33,140 MW
Low (F) | 33.4
Sunny
Billings, MT
High (F) | 63
Low (F) | 32.7
Sunny
Loveland, CO
High (F) | 61.7
Low (F) | 30.9
Sunny
Los Angeles, CA
High (F) | 77.7
Low (F) | 53.6
Partly Cloudy
Phoenix, AZ
High (F) | 94.5
Low (F) | 58.3
Sunny
Salt Lake City, UT
High (F) | 61.3
Low (F) | 34.7
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
65,919 MW
14,536 MW
33,140 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend