## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-03-05
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 71.4 |  | 41.9 |  | 54.3 | 75.4
Low: |  | 43.9 |  | 18 |  | 42.4 | 64.4
Conditions: |  | Sunny |  | Sunny |  | Patchy rain nearby | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 56930.5449 | 19 | 8507.0748 |  | 3807.6038 | 23126.43
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12995.0921 | 19 | 1368 |  | 844.681 | 13005.82
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30453.4915 | 19 | 3587.83 |  | 2254.83 | 28162.63
Includes CFE, CISO & LDWP
WI TOTAL |  | 100379.1285 | 19 | 13462.9048 |  | 6839.0738 | 63015.88
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 68562 | 19 | 13741
SRSG |  | 20031 | 15 | 5851
CAMX* |  | 32082 | 19 | 5077
WI TOTAL |  | 114910 | 19 | 22661
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 41.9
Low (F) | 18
Sunny |  | 56930.5449 | 59.68% | 59.68% | 40.32% | 56,931 MW
|  | 12995.0921 | 52.41% | 52.41% | 47.59% | 12,995 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 48.2 | 30453.4915 | 57.9% | 57.9% | 42.1% | 30,453 MW
Low (F) | 42.1
Patchy rain nearby
Billings, MT
High (F) | 48.7
Low (F) | 34.9
Patchy rain nearby
Loveland, CO
High (F) | 68.7
Low (F) | 33.8
Partly Cloudy
Los Angeles, CA
High (F) | 81.5
Low (F) | 49.6
Sunny
Phoenix, AZ
High (F) | 84.9
Low (F) | 53.1
Sunny
Salt Lake City, UT
High (F) | 40.5
Low (F) | 32.9
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
56,931 MW
12,995 MW
30,453 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend