## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-03-10
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 75.2 |  | 33.3 |  | 41 | 76.8
Low: |  | 49.8 |  | 16 |  | 32.4 | 65.7
Conditions: |  | Sunny |  | Sunny |  | Patchy rain nearby | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 58260.3586 | 8 | 7256.4743 |  | 3786.9233 | 25068.04
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13180.8465 | 20 | 1269 |  | 856.755 | 12934.46
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30756.0345 | 20 | 3335.54 |  | 2423.54 | 28492.61
Includes CFE, CISO & LDWP
WI TOTAL |  | 101098.3401 | 20 | 12090.1341 |  | 6367.1931 | 65383.11
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 69732 | 7 | 13443
SRSG |  | 13884 | 18 | 4111
CAMX* |  | 31213 | 19 | 4188
WI TOTAL |  | 114217 | 19 | 18785
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 33.3
Low (F) | 16
Sunny |  | 58260.3586 | 61.07% | 61.07% | 38.93% | 58,260 MW
|  | 13180.8465 | 53.16% | 53.16% | 46.84% | 13,181 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 45.5 | 30756.0345 | 58.47% | 58.47% | 41.53% | 30,756 MW
Low (F) | 34.7
Patchy rain nearby
Billings, MT
High (F) | 43.2
Low (F) | 25.9
Sunny
Loveland, CO
High (F) | 66.9
Low (F) | 36.7
Cloudy
Los Angeles, CA
High (F) | 62.1
Low (F) | 54.7
Partly Cloudy
Phoenix, AZ
High (F) | 78.4
Low (F) | 55.6
Sunny
Salt Lake City, UT
High (F) | 62.6
Low (F) | 32.2
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
58,260 MW
13,181 MW
30,756 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend