## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-03-11
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 77 |  | 36 |  | 47.6 | 72.1
Low: |  | 45.3 |  | 17.8 |  | 35.6 | 46.9
Conditions: |  | Sunny |  | Overcast |  | Heavy rain | Heavy rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 57615.0408 | 8 | 8436.0944 |  | 4253.1644 | 25129.6
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13864.0219 | 20 | 1156 |  | 901.1614 | 12279.22
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31736.4122 | 20 | 3389.49 |  | 2258.49 | 26737.54
Includes CFE, CISO & LDWP
WI TOTAL |  | 102177.3315 | 20 | 12968.2943 |  | 6810.3123 | 62800.36
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 71275 | 7 | 11563
SRSG |  | 13778 | 18 | 4427
CAMX* |  | 30899 | 19 | 4528
WI TOTAL |  | 115241 | 19 | 19385
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 36
Low (F) | 17.8
Overcast |  | 57615.0408 | 60.4% | 60.4% | 39.6% | 57,615 MW
|  | 13864.0219 | 55.91% | 55.91% | 44.09% | 13,864 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 49.8 | 31736.4122 | 60.34% | 60.34% | 39.66% | 31,736 MW
Low (F) | 37.6
Moderate rain
Billings, MT
High (F) | 45.3
Low (F) | 23.9
Cloudy
Loveland, CO
High (F) | 45.1
Low (F) | 25.7
Sunny
Los Angeles, CA
High (F) | 60.4
Low (F) | 54.1
Mist
Phoenix, AZ
High (F) | 81.3
Low (F) | 52.7
Sunny
Salt Lake City, UT
High (F) | 51.4
Low (F) | 25.3
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
57,615 MW
13,864 MW
31,736 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend