## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-03-12
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 84.9 |  | 31.8 |  | 42.1 | 61.3
Low: |  | 50.2 |  | 19.8 |  | 34 | 37.8
Conditions: |  | Sunny |  | Moderate or heavy snow showers |  | Moderate rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 57059.3053 | 20 | 7262.3358 |  | 3708.8548 | 12910
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14470.5091 | 19 | 1210 |  | 940.5831 | 2867
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 34026.5844 | 20 | 3640.53 |  | 2797.53 | 0
Includes CFE, CISO & LDWP
WI TOTAL |  | 105352.0507 | 20 | 12109.8658 |  | 6766.6608 | 14771
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 71680 | 7 | 13181
SRSG |  | 14214 | 18 | 4362
CAMX* |  | 31903 | 19 | 4534
WI TOTAL |  | 115814 | 19 | 20278
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 31.8
Low (F) | 19.8
Moderate or heavy snow showers |  | 57059.3053 | 59.81% | 59.81% | 40.19% | 57,059 MW
|  | 14470.5091 | 58.36% | 58.36% | 41.64% | 14,471 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 47.5 | 34026.5844 | 64.69% | 64.69% | 35.31% | 34,027 MW
Low (F) | 36.7
Heavy rain
Billings, MT
High (F) | 60.3
Low (F) | 35.2
Partly Cloudy
Loveland, CO
High (F) | 68.4
Low (F) | 28.4
Sunny
Los Angeles, CA
High (F) | 88.2
Low (F) | 52.3
Sunny
Phoenix, AZ
High (F) | 97.2
Low (F) | 56.8
Sunny
Salt Lake City, UT
High (F) | 72
Low (F) | 40.1
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
57,059 MW
14,471 MW
34,027 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend