## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-03-13
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 83.5 |  | 27 |  | 46.4 | 72.5
Low: |  | 51.6 |  | 8.2 |  | 34.8 | 40.3
Conditions: |  | Sunny |  | Overcast |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 57134.3684 | 9 | 8404.9628 |  | 3941.5058 | 24670.17
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14509.1369 | 19 | 1381 |  | 943.0939 | 11987.86
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33747.1757 | 20 | 3304.97 |  | 2505.97 | 27787.28
Includes CFE, CISO & LDWP
WI TOTAL |  | 103951.3189 | 20 | 12685.8392 |  | 6812.8282 | 63366.31
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 69321 | 19 | 11018
SRSG |  | 15291 | 18 | 4393
CAMX* |  | 34671 | 19 | 5543
WI TOTAL |  | 119122 | 19 | 20679
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 27
Low (F) | 8.2
Overcast |  | 57134.3684 | 59.89% | 59.89% | 40.11% | 57,134 MW
|  | 14509.1369 | 58.51% | 58.51% | 41.49% | 14,509 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 53.4 | 33747.1757 | 64.16% | 64.16% | 35.84% | 33,747 MW
Low (F) | 41.5
Heavy rain
Billings, MT
High (F) | 36.1
Low (F) | 30.7
Patchy moderate snow
Loveland, CO
High (F) | 70.3
Low (F) | 37.9
Sunny
Los Angeles, CA
High (F) | 93.6
Low (F) | 58.8
Sunny
Phoenix, AZ
High (F) | 98.8
Low (F) | 57.2
Sunny
Salt Lake City, UT
High (F) | 73
Low (F) | 45
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
57,134 MW
14,509 MW
33,747 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend