## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-03-24
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 91.6 |  | 41.4 |  | 49.3 | 66.4
Low: |  | 57.6 |  | 25 |  | 36.5 | 50.5
Conditions: |  | Sunny |  | Partly Cloudy |  | Moderate rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 64244.7951 | 19 | 9742.6709 |  | 4175.9117 | 27485.21
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 17415.6779 | 18 | 2246 |  | 1132.0191 | 15619.99
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 35847.2695 | 20 | 3205.69 |  | 2609.69 | 26064.71
Includes CFE, CISO & LDWP
WI TOTAL |  | 116738.9912 | 19 | 14412.5109 |  | 7450.7679 | 67806.91
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 68233 | 8 | 14793
SRSG |  | 19104 | 17 | 4039
CAMX* |  | 35891 | 17 | 6616
WI TOTAL |  | 122173 | 17 | 24962
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 41.4
Low (F) | 25
Partly Cloudy |  | 64244.7951 | 67.35% | 67.35% | 32.65% | 64,245 MW
|  | 17415.6779 | 70.23% | 70.23% | 29.77% | 17,416 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 57.6 | 35847.2695 | 68.15% | 68.15% | 31.85% | 35,847 MW
Low (F) | 45
Patchy rain nearby
Billings, MT
High (F) | 77
Low (F) | 36.9
Sunny
Loveland, CO
High (F) | 78.8
Low (F) | 44.6
Partly Cloudy
Los Angeles, CA
High (F) | 70.5
Low (F) | 56.8
Partly Cloudy
Phoenix, AZ
High (F) | 103.1
Low (F) | 65.7
Sunny
Salt Lake City, UT
High (F) | 81.9
Low (F) | 55.6
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
64,245 MW
17,416 MW
35,847 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend