## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-03-31
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 70 |  | 38.7 |  | 56.7 | 88
Low: |  | 57.4 |  | 12.2 |  | 37.9 | 61.3
Conditions: |  | Patchy rain nearby |  | Sunny |  | Partly Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 56254.294 | 8 | 6762.0144 |  | 3382.1504 | 25710.32
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 17319.4515 | 18 | 2290 |  | 1125.7643 | 14556.91
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31789.3257 | 21 | 4174.4 |  | 2789.4 | 26596.86
Includes CFE, CISO & LDWP
WI TOTAL |  | 102240.2737 | 20 | 12845.8108 |  | 7193.8448 | 65541.09
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 68070 | 8 | 13818
SRSG |  | 18648 | 17 | 4435
CAMX* |  | 36641 | 13 | 7482
WI TOTAL |  | 118744 | 19 | 20893
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 38.7
Low (F) | 12.2
Sunny |  | 56254.294 | 58.97% | 58.97% | 41.03% | 56,254 MW
|  | 17319.4515 | 69.84% | 69.84% | 30.16% | 17,319 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 55.8 | 31789.3257 | 60.44% | 60.44% | 39.56% | 31,789 MW
Low (F) | 38.1
Sunny
Billings, MT
High (F) | 43.9
Low (F) | 29.8
Patchy rain nearby
Loveland, CO
High (F) | 58.5
Low (F) | 39.7
Overcast
Los Angeles, CA
High (F) | 72.5
Low (F) | 58.5
Overcast
Phoenix, AZ
High (F) | 97.7
Low (F) | 70.5
Sunny
Salt Lake City, UT
High (F) | 74.5
Low (F) | 48
Moderate rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
56,254 MW
17,319 MW
31,789 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend