## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-04-01
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 59 |  | 47.7 |  | 47.1 | 88.9
Low: |  | 53.1 |  | 20.1 |  | 42.1 | 62.8
Conditions: |  | Moderate rain |  | Partly Cloudy |  | Moderate rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 54693.8264 | 20 | 6772.5369 |  | 3555.0987 | 25724.66
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 15154.4035 | 19 | 1115 |  | 985.0362 | 15196.22
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31153.6362 | 21 | 3979.28 |  | 2539.28 | 27808.37
Includes CFE, CISO & LDWP
WI TOTAL |  | 100659.6227 | 20 | 11869.6769 |  | 7863.8579 | 67261.25
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 69231 | 7 | 11628
SRSG |  | 17262 | 17 | 4098
CAMX* |  | 35066 | 12 | 6084
WI TOTAL |  | 114972 | 12 | 24719
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 47.7
Low (F) | 20.1
Partly Cloudy |  | 54693.8264 | 57.34% | 57.34% | 42.66% | 54,694 MW
|  | 15154.4035 | 61.11% | 61.11% | 38.89% | 15,154 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 53.1 | 31153.6362 | 59.23% | 59.23% | 40.77% | 31,154 MW
Low (F) | 41.2
Moderate rain
Billings, MT
High (F) | 54.7
Low (F) | 30.7
Partly Cloudy
Loveland, CO
High (F) | 65.1
Low (F) | 39.9
Overcast
Los Angeles, CA
High (F) | 69.8
Low (F) | 56.7
Partly Cloudy
Phoenix, AZ
High (F) | 87.1
Low (F) | 70
Sunny
Salt Lake City, UT
High (F) | 57
Low (F) | 45.9
Moderate rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
54,694 MW
15,154 MW
31,154 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend