## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-04-02
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 64.9 |  | 31.8 |  | 50.5 | 82.6
Low: |  | 45.9 |  | 28.2 |  | 42.3 | 66
Conditions: |  | Sunny |  | Light snow |  | Patchy rain nearby | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 55630.2965 | 8 | 7347.025 |  | 3526.82 | 73901.26
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 15495.9481 | 19 | 1586 |  | 1007.2366 | 63162.09
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30549.1474 | 21 | 4625.17 |  | 3104.17 | 29267.24
Includes CFE, CISO & LDWP
WI TOTAL |  | 100693.8837 | 20 | 13435.9403 |  | 7091.0953 | 117528.59
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 67041 | 19 | 11322
SRSG |  | 15695 | 18 | 4990
CAMX* |  | 34015 | 14 | 6706
WI TOTAL |  | 114327 | 19 | 20972
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 31.8
Low (F) | 28.2
Light snow |  | 55630.2965 | 58.32% | 58.32% | 41.68% | 55,630 MW
|  | 15495.9481 | 62.49% | 62.49% | 37.51% | 15,496 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 52.9 | 30549.1474 | 58.08% | 58.08% | 41.92% | 30,549 MW
Low (F) | 37.7
Patchy rain nearby
Billings, MT
High (F) | 63.3
Low (F) | 35.1
Moderate rain
Loveland, CO
High (F) | 72.7
Low (F) | 31.1
Sunny
Los Angeles, CA
High (F) | 70.9
Low (F) | 56.7
Partly Cloudy
Phoenix, AZ
High (F) | 91.4
Low (F) | 61
Sunny
Salt Lake City, UT
High (F) | 48.9
Low (F) | 35.1
Moderate rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
55,630 MW
15,496 MW
30,549 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend