## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-04-03
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 77.5 |  | 49.1 |  | 47.8 | 84.2
Low: |  | 43.9 |  | 20.1 |  | 40.8 | 67.3
Conditions: |  | Sunny |  | Sunny |  | Patchy rain nearby | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 55202.4501 | 8 | 4650.0555 |  | 3518.8505 | 88739.5
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14838.8939 | 17 | 1670 |  | 964.5281 | 80238.59
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30405.2972 | 21 | 3638.57 |  | 3138.57 | 28753.87
Includes CFE, CISO & LDWP
WI TOTAL |  | 93122.043 | 8 | 9133.4155 |  | 6646.5405 | 132932.96
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 66934 | 8 | 14809
SRSG |  | 13522 | 19 | 4602
CAMX* |  | 31897 | 14 | 7229
WI TOTAL |  | 109741 | 19 | 24357
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 49.1
Low (F) | 20.1
Sunny |  | 55202.4501 | 57.87% | 57.87% | 42.13% | 55,202 MW
|  | 14838.8939 | 59.84% | 59.84% | 40.16% | 14,839 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 61.3 | 30405.2972 | 57.81% | 57.81% | 42.19% | 30,405 MW
Low (F) | 39
Sunny
Billings, MT
High (F) | 46.2
Low (F) | 34.7
Patchy rain nearby
Loveland, CO
High (F) | 58.8
Low (F) | 30.7
Sunny
Los Angeles, CA
High (F) | 76.6
Low (F) | 52.3
Sunny
Phoenix, AZ
High (F) | 93.6
Low (F) | 58.5
Sunny
Salt Lake City, UT
High (F) | 49.5
Low (F) | 32.4
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
55,202 MW
14,839 MW
30,405 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend