## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-04-07
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 78.4 |  | 43.5 |  | 54.7 | 76.5
Low: |  | 50.9 |  | 29.8 |  | 39.7 | 48.6
Conditions: |  | Sunny |  | Patchy rain nearby |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 50342.4954 | 20 | 6315.7712 |  | 3272.2622 | 24170.77
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 16824.7985 | 18 | 2433 |  | 1093.6119 | 14244.16
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32690.4939 | 20 | 3228.09 |  | 2376.09 | 28589.33
Includes CFE, CISO & LDWP
WI TOTAL |  | 99468.6351 | 20 | 11131.8612 |  | 6134.9122 | 65790.26
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 64368 | 19 | 13835
SRSG |  | 15382 | 19 | 4455
CAMX* |  | 33856 | 16 | 6718
WI TOTAL |  | 113144 | 19 | 23653
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 43.5
Low (F) | 29.8
Patchy rain nearby |  | 50342.4954 | 52.77% | 52.77% | 47.23% | 50,342 MW
|  | 16824.7985 | 67.85% | 67.85% | 32.15% | 16,825 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 59.9 | 32690.4939 | 62.15% | 62.15% | 37.85% | 32,690 MW
Low (F) | 40.6
Sunny
Billings, MT
High (F) | 76.3
Low (F) | 33.8
Sunny
Loveland, CO
High (F) | 73.4
Low (F) | 29.8
Partly Cloudy
Los Angeles, CA
High (F) | 69.6
Low (F) | 54.9
Partly Cloudy
Phoenix, AZ
High (F) | 97.2
Low (F) | 61.3
Sunny
Salt Lake City, UT
High (F) | 79.5
Low (F) | 49.5
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
50,342 MW
16,825 MW
32,690 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend