## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-04-08
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 86.2 |  | 49.5 |  | 57.4 | 84.2
Low: |  | 52.7 |  | 23 |  | 39.7 | 50.5
Conditions: |  | Sunny |  | Sunny |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 50060.0003 | 8 | 5609.1607 |  | 3075.9387 | 22373.8
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 17330.8007 | 18 | 2296 |  | 1126.502 | 14641.78
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33209.97 | 20 | 4011.23 |  | 2921.23 | 29388.08
Includes CFE, CISO & LDWP
WI TOTAL |  | 99796.1816 | 20 | 11627.5218 |  | 6682.5398 | 65076.66
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 57574 | 5 | 16240
SRSG |  | 17106 | 17 | 5785
CAMX* |  | 34150 | 18 | 6355
WI TOTAL |  | 104023 | 18 | 25238
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 49.5
Low (F) | 23
Sunny |  | 50060.0003 | 52.48% | 52.48% | 47.52% | 50,060 MW
|  | 17330.8007 | 69.89% | 69.89% | 30.11% | 17,331 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 68.9 | 33209.97 | 63.14% | 63.14% | 36.86% | 33,210 MW
Low (F) | 42.6
Sunny
Billings, MT
High (F) | 60.3
Low (F) | 34.2
Sunny
Loveland, CO
High (F) | 78.6
Low (F) | 38.7
Sunny
Los Angeles, CA
High (F) | 73
Low (F) | 55.9
Partly Cloudy
Phoenix, AZ
High (F) | 101.3
Low (F) | 63.1
Sunny
Salt Lake City, UT
High (F) | 76.5
Low (F) | 47.8
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
50,060 MW
17,331 MW
33,210 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend