## Sheet1
WECC Interconnection Daily Status Report
Date: | 2026-04-10
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 64.8 |  | 68 |  | 70.2 | 87.1
Low: |  | 51.8 |  | 31.1 |  | 46.2 | 55.8
Conditions: |  | Moderate rain |  | Sunny |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 47820.9449 | 8 | 5710.9212 |  | 2921.8702 | 22207.19
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 16456.097 | 18 | 2149 |  | 1069.6463 | 15699.4
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30432.7397 | 21 | 3889 |  | 2755 | 28545.85
Includes CFE, CISO & LDWP
WI TOTAL |  | 93706.273 | 20 | 11196.35 |  | 6295.746 | 65056.44
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 49528 | 7 | 11915
SRSG |  | 17750 | 17 | 5813
CAMX* |  | 36525 | 10 | 6592
WI TOTAL |  | 99756 | 19 | 19580
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 68
Low (F) | 31.1
Sunny |  | 47820.9449 | 50.13% | 50.13% | 49.87% | 47,821 MW
|  | 16456.097 | 66.36% | 66.36% | 33.64% | 16,456 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 75 | 30432.7397 | 57.86% | 57.86% | 42.14% | 30,433 MW
Low (F) | 53.1
Patchy rain nearby
Billings, MT
High (F) | 70.7
Low (F) | 32.5
Sunny
Loveland, CO
High (F) | 61.9
Low (F) | 39.2
Partly Cloudy
Los Angeles, CA
High (F) | 66.2
Low (F) | 58.8
Cloudy
Phoenix, AZ
High (F) | 98.6
Low (F) | 64.2
Sunny
Salt Lake City, UT
High (F) | 82
Low (F) | 54.7
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
47,821 MW
16,456 MW
30,433 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend