## Units
Plant | Units | Name Plate | Total | Maximum | Total | Notes
Albeni Falls | 1-3 | 14.2 | 42.6 | 16.3 | 48.9
Big Cliff | 1 | 22.5 | 22.5 | 22.5 | 22.5
Bonneville | 1-2 | 53.5 | 107 | 53.5 | 107
| 3-10 | 62.1 | 496.8 | 62.1 | 496.8
| 11-18 | 66.5 | 532 | 76.5 | 612
| F1-F2 | 13.1 | 26.2 | 13.1 | 26.2
| 1-SS | 4 | 4 | 4 | 4
Chief Joseph | 1-16 | 88.3 | 1412.8 | 88.3 | 1412.8
| 17-27 | 95 | 1045 | 109.2 | 1201.2
Cougar | 1-2 | 14.4 | 28.8 | 14.4 | 28.8
Detroit | 1-2 | 63 | 126 | 63 | 126
Dexter | 1 | 22.4 | 22.4 | 22.4 | 22.4 | *powerhouse is transformer limited to 17.3 MW
Dworshak | 1-2 | 90 | 180 | 103.5 | 207
| 3 | 253 | 253 | 253 | 253
Foster | 1-2 | 10 | 20 | 11.5 | 23
Green Peter | 1-2 | 46 | 92 | 46 | 92
Hills Creek | 1-2 | 17.25 | 34.5 | 17.25 | 34.5
Ice Harbor | 1 | 90 | 90 | 103.5 | 103.5
| 2-3 | 103.5 | 207 | 103.5 | 207 | *generators rated at 115 MW but transformer limited to 103.5 MW
| 4-6 | 111 | 333 | 128 | 384
John Day | 1-16 | 155.25 | 2484 | 155.25 | 2484
Libby | 1, 3 | 121 | 242 | 121 | 242
| 2, 4, 5 | 105 | 315 | 121 | 363
Little Goose | 1-6 | 135 | 810 | 155 | 930
Lookout Point | 1-3 | 60.5 | 181.5 | 60.5 | 181.5 | *powerhouse is transformer limited to 138 MW
Lost Creek | 1-2 | 24.5 | 49 | 28 | 56
Lower Granite | 1-6 | 135 | 810 | 155 | 930 | *may not be fully up-to-date
Lower Monumental | 1-6 | 135 | 810 | 155 | 930
McNary | 1-4, 6-12 | 80.5 | 885.5 | 80.5 | 885.5 | *these generators rated at 95 MW but limited by turbine and isophase bus to 80.5 MW
| 5, 14 | 80.5 | 161 | 80.5 | 161
| 13 | 70 | 70 | 80.5 | 80.5
The Dalles | 1-14 | 78 | 1092 | 90 | 1260
| 15-22 | 86 | 688 | 99 | 792
| F1-F2 | 15.5 | 31 | 15.5 | 31 | *generators transformer limited to 13.1 MW each
Anderson Ranch | 1-2 | 20 | 40 | 20 | 40
Black Canyon | 1-2 | 5.1 | 10.2 | 5.1 | 10.2
Boise River Diversion | 1-3 | 1.15 | 3.45 | 1.15 | 3.45
Chandler 1 - 2 | 1-2 | 6 | 12 | 6 | 12
Grand Coulee | 1-18 | 125 | 2250 | 125 | 2250
| 19-21 | 600 | 1800 | 690 | 2070
| 22-24 | 805 | 2415 | 805 | 2415
Keys Pumping Plant | PG 7-8 | 50 | 100 | 50 | 100
| PG 9-12 | 53.5 | 214 | 53.5 | 214
Green Springs | 1 | 17.3 | 17.3 | 17.3 | 17.3
Hungry Horse | 1-4 | 107 | 428 | 107 | 428
Minidoka | 6 | 2.7 | 2.7 | 2.7 | 2.7
| 7 | 5 | 5 | 5 | 5
| 8-9 | 10 | 20 | 10 | 20
Palisades | 1-4 | 44.1 | 176.4 | 44.1 | 176.4
Roza | 1 | 11.3 | 11.3 | 12.9 | 12.9

## Plant Totals
Name | Installed Nameplate Capacity | Maximum Capacity
Albeni Falls 1- 3 | 42.6 | 49
Anderson Ranch 1 - 2 | 40 | 40
Big Cliff | 22.5 | 22.5
Black Canyon 1 - 2 | 10.2 | 10.2
Boise River Diversion 1- 3 | 3.375 | 3.375
Bonneville 1 - 18 | 1136 | 1216
Bonneville Fishway F1 & F2 | 26.2 | 26.2
Chandler 1 - 2 | 12 | 12
Chief Joseph 1 - 27 | 2458 | 2614
Cougar 1 & 2 | 28.5 | 28.5
Detroit 1 & 2 | 126 | 126
Dexter | 17.3 | 17.3 | *rewound units are transformer limited
Dworshak 1 - 3 | 433 | 460
Foster 1 & 2 | 20 | 23
Grand Coulee 1 - 24 | 6465 | 6735
Keys Pumping Plant PG 7-12 | 314 | 314
Green Peter 1 & 2 | 92 | 92
Green Springs | 17.3 | 17.3
Hills Creek 1 & 2 | 34.5 | 34.5
Hungry Horse 1 - 4 | 428 | 428
Ice Harbor 1 - 6 | 630 | 695 | *rewound units are transformer limited
John Day 1 - 16 | 2484 | 2484
Libby 1 - 5 | 525 | 605
Little Goose 1 - 6 | 810 | 930
Lookout Point 1 - 3 | 138 | 138 | *rewound units are transformer limited
Lost Creek 1 - 2 | 49 | 56
Lower Granite 1 - 6 | 810 | 930
Lower Monumental 1- 6 | 810 | 930
McNary 1- 14 | 1116.5 | 1127 | *rewound units limited by turbines and isophase bus
Minidoka 6-9 | 27.58 | 27.6
Palisades 1 - 4 | 176 | 176
Roza | 11.25 | 12.9
The Dalles 1 - 22 | 1781 | 2048
The Dalles F1 & F2 | 26.2 | 26.2 | *rewound units are transformer limited