## Slide 1
Western Assessment of Resource Adequacy
Senior Reliability Assessments Engineer
Matthew Zapotocky
February 4, 2026
Prepared for the Member Advisory Committee (MAC)

## Slide 2
Demand Forecasts
Planned Additions
Planned Retirements
Resource Mix
Resource Scenarios
Load Scenarios
Subregional Results
Links to Material

## Slide 3: Demand Forecasts
Annual Demand Projections
Peak Demand Projections

## Slide 4: Planned Additions
Planned Additions by Subregion
Historical and Planned Additions
177 GW​ from 2026-2035
90% is inverter-based resources (battery, solar, wind)
70% are variable energy resources (solar & wind)
119 GW of resource additions are in California and the Southwest
15 GW of additions in Basin, the Northwest, and Rocky Mountain
13 GW of additions in Alberta, British Columbia, and Mexico

## Slide 5: Planned Retirements
Planned Retirements
Planned Retirements by Subregion
22 GW​ from 2026–2035
80% is natural gas, coal, or nuclear
7 GW in the Southwest
6 GW in California and Rocky Mountain

## Slide 6: Resource Mix
Year-End 2024
Projected Year-End 2035
Comparison of Nameplate Capacity to Available Energy

## Slide 7: Resource Scenarios
Comparison of Resource Buildout Scenarios
Even with all planned resource additions, loss of load is encountered.

## Slide 8: Load Scenarios (2030 and 2035)
High Load Scenario
Comparison of Load Scenarios
Even with all planned resource additions and a reduction in demand, loss of load is encountered in the Northwest subregion.
Low Load Scenario

## Slide 9: Northwest
All Additions: 445 LOLH
95%: 525 LOLH
High Load: 218 LOLH (2030), 714 LOLH (2035)
Low Load: 1 LOLH (2030), 7 LOLH (2035)
85%: 706 LOLH
67%: 1,294 LOLH

## Slide 10: Basin
All Additions: 18 LOLH
95%: 43 LOLH
High Load: 7 LOLH (2030), 24 LOLH (2035)
85%: 163 LOLH
67%: 711 LOLH

## Slide 11: Other Subregions
Rocky Mountain
85% Scenario: 4 LOLH
67% Scenario: 83 LOLH
Mexico
67% Scenario: 52 LOLH
California
67% Scenario: 4 LOLH
Rocky Mountain 67% LOLHs by Month
Mexico 67% LOLHs by Month

## Slide 12: Western Assessment Material
2025 Western Assessment of Resource Adequacy
Western Assessment Supplemental Material
Western Assessment of Resource Adequacy Modeling Approach
Western Assessment Glossary