## Directions
Transmission Losses | Instructions
Transmission Losses | Step 1: Populate Columns D, E and F (if applicable) consistent with the 2021 Loads and Resources Data Collection Manual
Step 2: Populate Monthly Peak (MW) values of Transmission Losses (Columns G–R) for years 2020–2032 (Rows 4–13)
Step 3: Populate Monthly Energy (GWh) values of Transmission Losses (Columns G–R) for years 2020–2032 (Rows 19–31)
Step 4: Populate Comment fields if applicable, Column S
Paths Column | Description
OTC—Summer | Aggregate OTC from the modeling area in Column B to the modeling area in Column C for summer
Transfer Capability— Summer—High Load | Aggregate "High Load" transfer capability from the modeling area in Column B to the modeling area in Column C for summer
Transfer Capability—Winter—Max | Aggregate maximum transfer capability from the modeling area in Column B to the modeling area in Column C for winter
OTC—Winter | Aggregate OTC from the modeling area in Column B to the modeling area in Column C for winter
Transfer Capability—Winter—High Load | Aggregate "High Load" transfer capability from the modeling area in Column B to the modeling area in Column C for winter
Loss % | Transmission loss percent on path
Wheel $/MWh | Cost for wheeling on path
Transfer Capability—Summer—Max | Aggregate maximum transfer capability from the modeling area in Column B to the modeling area in Column C for summer
Transfer Path Capabilities
Verify and update the {Paths} sheet with the proper transfer capabilities between modeling areas. There are two sets of data for each path, inbound and outbound. The list of transmission lines in the {Paths} sheet identifies cut planes between modeling areas. Report planned upgrades or changes, and their effective dates, in both the {Paths} and {Projected Transmission} sheets. See Table 10 for an explanation of the fields on the {Paths} sheet.
• Maximum Transfer Capability: Provide the capability associated with ratings found in the WECC Path Rating Catalog. If the path is not rated, give your best estimate.
• Operating Transfer Capability (OTC): Provide the capability used in daily operations based on seasonal thermal or stability limits.
•“High Load” Transfer Capability: Provide the capability that may be reasonably expected under simultaneous, high seasonal-loading conditions. This capability should include restrictions such as simultaneous or loop flows.
Transformers: Report all transformers with a low-side rating of 100 kV and above that were added during the Actual Year or are projected to be added during the next 10 years. Indicate replacement transformers in the description/status column. See Table 14 for an explanation of the fields on the Transformer sheet.
Transmission: Report all transmission lines 100 kV and above that were added during 2021 or are projected to be added during the next 10 years. See Table 13 for an explanation of the fields on the Transmission sheet.
- Make sure each entry has the same attributes (e.g., voltage) over the entire line. If line attributes change over a single project, list each portion separately.
- List each three-phase circuit of a multi-circuit line separately, unless the projected in-service date of one or more circuits is more than 10 years in the future.
- Report retirements and operating voltage changes to multi-circuit lines circuit by circuit, not on a multi-line basis.

## Codes
Year | Prime Movers |  | Energy Sources |  |  |  | Status | Country | Prime Mover | Energy Source | Project Status | Tie Line | Line Type | Entity Type | Drivers | State/Province | Voltage Type | Circuits per Structure | Voltage Class | Region
2022 | Code | Description (Detailed) | Code | Fuel Type | Description | Description (Detailed) | Existing | CA | BA | AB | Under Construction | Y | OH | C | Reliability | AL | AC | 1 | 100-120 | WECC
| BA | Energy Storage, Battery | AB | Biomass | Solid Renewable Fuels | Agricultural By-Products | Retired | MX | BT | ANT | Planned | N | UG | F | Variable/Renewable Integration | AB | DC | 2 | 121-150
Version | BT | Turbines Used in a Binary Cycle (including those used for geothermal applications) | ANT | Coal | Coal | Anthracite Coal | Mothballed | US | CA | BFG | Conceptual |  | SM | I | Nuclear Integration | AR |  | 3 | 151-199
1 | CA | Combined Cycle Steam Part | BFG | Natural Gas and Other Gases | Natural Gas and Other Gases | Blast Furnace Gas | Cancelled |  | CC | BIT | Completed |  |  | M | Fossil-Fired Integration | AZ |  |  | 200-299
| CC | Combined Cycle Total Unit (use only for plants/generators in planning stages, for which specific generator details cannot be provided) | BIT | Coal | Coal | Bituminous Coal | Tier 1 |  | CE | BLQ | Delayed - Load Growth |  |  | S | Hydro Integration | BC |  |  | 300-399
Manual Data Entry Required | CE | Energy Storage, Compressed Air | BLQ | Biomass | Liquid Renewable (Biomass) Fuels | Black Liquor | Tier 2 |  | CP | DFO | Delayed - Permitting Challenges |  |  | O | Economics / Congestion | CA |  |  | 400-599
Manual Data Entry Optional | CP | Energy Storage, Concentrated Solar Power | DFO | Petroleum | Petroleum | Distillate Fuel Oil. Including Diesel, No. 1, No. 2, and No. 4 Fuel Oils | Tier 3 |  | CS | GEO | Delayed - Siting Challenges |  |  |  | Other | CO |  |  | 600+
Data Provided (Changes Allowed) | CS | Combined Cycle Single Shaft (combustion turbine and steam turbine share a single generator) | GEO | Geothermal | Geothermal | Geothermal |  |  | CT | HG | Delayed - Economics |  |  |  |  | CT
No Data Entry | CT | Combined Cycle Combustion Turbine Part (type of coal or solid must be reported as energy source for integrated coal gasification) | JF | Petroleum | Petroleum | Jet Fuel |  |  | ES | HO | Delayed - Other (Comment Required) |  |  |  |  | DC
Description | ES | Energy Storage, Other (specify in comments section) | KER | Petroleum | Petroleum | Kerosene |  |  | FC | HS | Cancelled - Load Growth |  |  |  |  | DE
Data Provided (Do Not Modify) | FC | Fuel Cell | LFG | Biomass | Gaseous Renewable (Biomass Fuel) | Landfill Gas |  |  | FW | HW | Cancelled - Permitting Challenges |  |  |  |  | FL
| GT | Combustion (Gas) Turbine (includes jet engine design) | MSW | Biomass | Solid Renewable Fuels | Municipal Solid Waste |  |  | HA | KER | Cancelled - Economics |  |  |  |  | IA
| HA | Hydrokinetic, Axial Flow Turbine | MWH | Other | Storage | Electricity used for energy storage |  |  | HB | LFG | Cancelled - Other (Comment Required) |  |  |  |  | ID
| HB | Hydrokinetic, Wave Buoy | NG | Natural Gas and Other Gases | Natural Gas and Other Gases | Natural Gas |  |  | HK | LIG | [5 empty] | IL
| HK | Hydrokinetic, Other (specify in comments section) | NUC | Nuclear | Nuclear | Nuclear (including Uranium, Plutonium, and Thorium) |  |  | HY | MSW | [5 empty] | IN
| HY | Hydroelectric Turbine (includes turbines associated with delivery of water by pipeline) | OBG | Biomass | Gaseous Renewable (Biomass Fuel) | Other Biomass Gas (including digester gas, methane, and other biomass gases; specify in comments section) |  |  | IC | MWH | [5 empty] | KS
| IC | Internal Combustion Engine (diesel, piston, reciprocating) | OBL | Biomass | Liquid Renewable (Biomass) Fuels | Other Biomass Liquids (specify in comment section) |  |  | OT | NG | [5 empty] | KY
| OT | Other (specify in comments section) | OBS | Biomass | Solid Renewable Fuels | Other Biomass Solids (specify in comment section) |  |  | PS | NUC | [5 empty] | LA
| PS | Energy Storage, Reversible Hydraulic Turbine (Pumped Storage) | OG | Natural Gas and Other Gases | Natural Gas and Other Gases | Other Gas (specify in comments section) |  |  | PV | OBG | [5 empty] | MA
| PV | Photovoltaic | OTH | Other | Other | (specify in comment section) |  |  | ST | OBL | [5 empty] | MB
| ST | Steam Turbine, including nuclear, geothermal and solar steam (does not include combined cycle) | PC | Petroleum | Petroleum | Petroleum Coke |  |  | UK | OBS | [5 empty] | MD
| UK | Unknown (specify in comments section) | PG | Petroleum | Petroleum | Gaseous Propane |  |  | WS | OG | [5 empty] | ME
| WS | Wind Turbine, Offshore | PUR | Other | Purchased Steam | Purchased Steam |  |  | WT | OTH | [5 empty] | MI
| WT | Wind Turbine, Onshore | RC | Coal | Coal | Refined Coal |  |  | HG | PC | [5 empty] | MN
| HG | Hybrid - Natural Gas and Battery | RFO | Petroleum | Petroleum | Residual Fuel Oil (including No. 5, and No. 6 fuel oils, and bunker C fuel oil) |  |  | HO | PG | [5 empty] | MO
| HO | Hybrid - Other and Battery | SGC | Coal | Coal | Coal-Derived Synthesis Gas |  |  | HS | PUR | [5 empty] | MS
| HS | Hybrid - Solar and Battery | SGP | Natural Gas and Other Gases | Natural Gas and Other Gases | Synthesis Gas from Petroleum Coke |  |  | HW | RC | [5 empty] | MT
| HW | Hybrid - Wind and Battery | SLW | Biomass | Liquid Renewable (Biomass) Fuels | Sludge Waste |  |  |  | RFO | [5 empty] | NB
|  |  | SUB | Coal | Coal | Subbituminous Coal |  |  |  | SGC | [5 empty] | NC
|  |  | SUN | Solar | Solar | Solar |  |  |  | SGP | [5 empty] | ND
|  |  | TDF | Other | Tire-Derived Fuels | Tire-derived Fuels |  |  |  | SLW | [5 empty] | NE
|  |  | UKN | Unknown | Unknown | (specify in comment section) |  |  |  | SUB
|  |  | WAT | Conventional Hydro |  | Water at a Conventional; Hydroelectric Turbine, and water used in Wave Buoy Hydrokinetic Technology, Current Hydrokinetic Technology, and Tidal Hydrokinetic Technology |  |  |  | SUN | [5 empty] | NH
|  |  | WAT | Run of River Hydro | [5 empty] | TDF | [5 empty] | NJ
|  |  | WAT | Pumped Storage | Pumping Energy for Reversible (Pumped Storage) Hydroelectric Turbine | Pumping Energy for Reversible (Pumped Storage) Hydroelectric Turbine |  |  |  | UKN | [5 empty] | NL
|  |  | WC | Coal | Coal | Waste/Other Coal (including anthracite culm, bituminous gob, fine coal, lignite waste, waste coal) |  |  |  | WAT | [5 empty] | NM
|  |  | WDL | Biomass | Liquid Renewable (Biomass) Fuels | Wood Waste Liquids excluding Black Liquor (including red liquor, sludge wood, spent sulfite liquor, and other wood-based liquids) |  |  |  | WAT | [5 empty] | NS
|  |  | WDS | Biomass | Solid Renewable Fuels | Wood/Wood Waste Solids (including paper pellets, railroad ties, utility poles, wood chips, bark, and wood waste solids) |  |  |  | WAT | [5 empty] | NT
|  |  | WH | Other | Waste heat not directly attributed to a fuel source (WH should only be reported where the fuel source for the waste heat is undetermined, and for combined cycle steam turbines that do not have supplemental firing.) | Waste heat not directly attributed to a fuel source (WH should only be reported where the fuel source for the waste heat is undetermined, and for combined cycle steam turbines that do not have supplemental firing.) |  |  |  | WC | [5 empty] | NU
|  |  | WND | Wind | Wind | Wind |  |  |  | WDL | [5 empty] | NV
|  |  | WO | Natural Gas and Other Gases | Natural Gas and Other Gases | Waste/Other Oil (including crude oil, liquid butane, liquid propane, naphtha, oil waste, re-refined motor oil, sludge oil, tar oil, or other petroleum-based liquid wastes) |  |  |  | WDS | [5 empty] | NY
|  |  | HG | Hybrid |  | Hybrid - Natural Gas and Battery |  |  |  | WH | [5 empty] | OH
|  |  | HO | Hybrid |  | Hybrid - Other and Battery |  |  |  | WND | [5 empty] | OK
|  |  | HS | Hybrid |  | Hybrid - Solar and Battery |  |  |  | WO | [5 empty] | ON
|  |  | HW | Hybrid |  | Hybrid - Wind and Battery | [9 empty] | OR
PA
PE
QC
RI
SC
SD
SK
TN
TX
UT
VA
VT
VT
WA
WI
WV
WY

## Form D Transmission
Enter Answer here:
QUESTION: | What is the threshold voltage at and above which your BA would consider losses “transmission losses”?
NOTE | If 0, please enter 0 | [12 empty] | Please enter only known mileage |  |  | please select an option from the codes list |  | please select an option from the codes list | please select an option from the codes list |  |  | Projected Units must have a Future In-Service Date
| All future projects must have future in-service dates. Please check and revise. | [12 empty] | Mileage cannot equal negative miles
TRANSMISSION PROJECT INFORMATION
NERC Project ID | Project ID | Project Status | Region | Project Name | Tie Line | Primary Driver | Secondary Driver | Terminal Origin | Terminal Endpoint | Company Name | Company EIA Code | Entity Type | Ownership (%) | Line Length (Circuit Miles) | Line Type | Voltage Type | Operating Voltage Class (kV) | Voltage Design (kV) | Circuits per Structure - Present | Circuits per Structure - Ultimate | Capacity Rating (MVA) | In-Service Date(Original) | In-Service Date (Expected) | Data Submitter Comments | NERC Response

## Transmission Losses
Row | Year | ZONE | BA | LSE | Jan (MW) | Feb (MW) | Mar (MW) | Apr (MW) | May (MW) | Jun (MW) | Jul (MW) | Aug (MW) | Sep (MW) | Oct (MW) | Nov (MW) | Dec (MW) | Comment
1 | 2020
2 | 2021
3 | 2022
4 | 2023
5 | 2024
6 | 2025
7 | 2026
8 | 2027
9 | 2028
11 | 2030
12 | 2030
13 | 2032
Row | Year | ZONE | BA | LSE | Jan (GWh) | Feb (GWh) | Mar (GWh) | Apr (GWh) | May (GWh) | Jun (GWh) | Jul (GWh) | Aug (GWh) | Sep (GWh) | Oct (GWh) | Nov (GWh) | Dec (GWh) | Comment
1 | 2020
2 | 2021
3 | 2022
4 | 2023
5 | 2024
6 | 2025
7 | 2026
8 | 2027
9 | 2028
10 | 2029
11 | 2030
12 | 2030
13 | 2032

## Form E Transformers
TRANSFORMER PROJECT INFORMATION
NERC Project ID | Project ID | Project Status | Region | Project Name | Voltage - Low-Side (kV) | Voltage - High-Side (kV) | In-Service Date (Original) | In-Service Date (Expected) | Data Submitter Comments | NERC Response | Project Status

## Paths
Effective Date | From Zone | To Zone | From Bus | From kV | To Bus | To kV | Circ | Line Rating MW | Summer Max | Summer OTC | Summer High Load | Winter Max | Winter OTC | Winter High Load | Loss % | Wheel $/mwh