## Contents and Applicability
Attachment A
PRC-006-WECC-CRT-3
WECC-0065 Underfrequency Load Shedding Criterion
UFLS Entity Data Submittals Requirements
Compliance with the WECC Coordinated Plan,
Northwest Power Pool (NWPP) Sub-area Coordinated Plan, &
Southern Island Load Tripping Plan (SILTP)
Tab Name | Applicability | Due Date
UFLS Entity Contact | All UFLS Entities | July 1 annually
Tab 1a - Aggregate Load (WECC) | UFLS entities that adopted the WECC plan (not SILTP or NWPP sub-area plans) | July 1 annually
Tab 1b - Aggregate Load (NWPP) | UFLS Entities that adopted the NWPP sub-area plan | July 1 annually
Tab 1c - Aggregate Load (SILTP) | UFLS Entities that adopted the SILTP sub-area plan | July 1 annually
Tab 2 - Detail Load | All UFLS Entities that adopted a load tripping plan | July 1 annually
Tab 3 - Base Case Load | All UFLS Entities that adopted a load tripping plan | July 1 annually
Tab 4a - Generator | All GOs that have generators that must be explicitly modeled pursuant to WECC data reporting requirements | June 1 annually
Tab 4b - Generator dyd data | All GOs that: 1) have generators that must be explicitly modeled pursuant to WECC data reporting requirements; and 2) have frequency tripping within the Underfrequency Trip Modeling curves for generators in PRC-006 - Attachment 1 | June 1 annually
Tab 5 - Tie Line | All UFLS Entities that have Tie-Lines | July 1 annually

## UFLS Entity Contact
X
Attachment A
PRC-006-WECC-CRT-3
WECC Underfrequency Load Shedding Criterion
UFLS Entity Data Submittals Requirements
Compliance with the WECC Coordinated Plan,
Northwest Power Pool (NWPP) Sub-area Coordinated Plan, &
Southern Island Load Tripping Plan (SILTP)
Category: |  |  |  | Generator | UFLS Entity
*Required Field
|  |  | Company Name: |  |  |  | *Required Field
Respondent's Name:
Position/Title:
|  |  | E-mail: |  |  |  | *Required Field
Phone Number:
Fax Number:
Address:
|  |  | Submittal Date: |  |  |  | *Required Field
Are you an applicable entity per section 4 of PRC-006? | [5 empty] | (YES, NO) | *Required Field | YES
Do you own or operate generators that meet the modeling requirements of PRC-006-2 D.B.4.? | [5 empty] | (YES, NO) | *Required Field | NO

## Tab 1a - Aggregate Load (WECC)
OFF-NOMINAL FREQUENCY SYSTEM PROTECTION AND RESTORATION PLAN
2018
Compliance with the WECC
Coordinated Plan (Plan 1a)
Company Name: _____________________________________________
Location of Load: ____ Northern Island _____Southern Island ______Both
What is the amount of load that your company trips to comply with the WECC Coordinated Plan (1a)?
| During Winter Peak: ____________ (MW) |  |  |  | During Summer Peak: ____________ (MW)
Does your company change the load armed to be tripped seasonally?
|  |  | ___ Yes | ___ No
If yes, provide a set of data for all seasons that have different loads armed to be tripped.
Are there any other exceptions to the WECC plan (1a)? Yes ___ No ___
If yes, please explain:
Is the peak during the winter or summer? Winter ___ Summer ___
Company Peak Load that participates in the WECC Coordinated Plan (1a): ______ MW
How much load will your company trip at each of the following frequency points to comply with the
WECC Coordinated Plan (1a)(no intentional tripping time delay):
| Block | Frequency | % of Load at Peak | MW at Peak |  | Total Tripping (relay + breaker) Time
| 1 | 59.1 |  |  |  | no more than 14 cycles
| 2 | 58.9 |  |  |  | no more than 14 cycles
| 3 | 58.7 |  |  |  | no more than 14 cycles
| 4 | 58.5 |  |  |  | no more than 14 cycles
| 5 | 58.3 |  |  |  | no more than 14 cycles
|  | TOTAL | 0 | 0
Does your company trip additional load at frequencies lower than the minimum standard of 58.3 Hz?
Yes ___ No ___
If so, please fill in the following table completely.
|  | Frequency | % of Load at Peak | MW at Peak |  | Total Tripping (relay + breaker) Time
58.1
57.9
57.7
57.5
|  | TOTAL | 0 | 0
Comments:
(Page 1 of 2)
How much load will your company trip at each of the following frequency points to comply with the
WECC Coordinated Plan (1a)(load shedding to correct for underfrequency stalling):
| Block | Frequency | % of Load at Peak | MW at Peak |  | Total Tripping (relay + breaker) Time
| 6 | 59.3 |  |  |  | 15 sec
| 7 | 59.5 |  |  |  | 30 sec
| 8 | 59.5 |  |  |  | 1 min
|  | TOTAL | 0 | 0
Comments:
How much load will your company restore at each of the following frequency points to comply with the
WECC Coordinated Plan (1a)(automatic load restoration to correct for frequency overshoot):
| Block | Frequency | % of Load at Peak | MW at Peak |  | Total Tripping (relay + breaker) Time
| 9 | 60.5 |  |  |  | 30 sec
| 10 | 60.7 |  |  |  | 5 sec
| 11 | 60.9 |  |  |  | 0.25 sec
|  | TOTAL | 0 | 0
Comments:
Does your company have additional automatic load restoration at frequencies not listed in the table
above? Yes ___ No ___
If so, please fill out the following table completely and add comments to demonstrate your compliance.
|  | Frequency | % of Load at Peak | MW at Peak |  | Total Tripping (relay + breaker) Time
|  | TOTAL | 0 | 0
Comments:
(Page 2 of 2)
Northern Island
Southern Island

## Tab 1b - Aggregate Load (NWPP)
OFF-NOMINAL FREQUENCY SYSTEM PROTECTION AND RESTORATION PLAN
2018
Compliance with the
Northwest Power Pool (NWPP) sub-area Coordinated Plan (Plan 1b)
Company Name: _____________________________________________
What is the amount of load that your company trips to comply with the Northwest Power Pool sub-area
plan?
| During Winter: ____________ (MW) |  |  |  | During Summer: ____________ (MW)
Does your company change the load armed to be tripped seasonally?
|  |  | ___ Yes | ___ No
If yes, provide a set of data for all seasons that have different loads armed to be tripped.
Are there any other exceptions to the Northwest Power Pool sub-area plan (1b)? Yes ___ No ___
If yes, please explain:
Is the peak during the winter or summer? Winter ___ Summer ___
Company Peak Load that participates in the NWPP sub-area Plan (1b): ______ MW
How much load will your company trip at each of the following frequency points to comply with the
NWPP sub-area Plan (1b)(no intentional tripping time delay):
| Block | Frequency | % of Load at Peak | MW at Peak |  | Total Tripping (relay + breaker) Time
| 1 | 59.3 |  |  |  | no more than 14 cycles
| 2 | 59.2 |  |  |  | no more than 14 cycles
| 3 | 59 |  |  |  | no more than 14 cycles
| 4 | 58.8 |  |  |  | no more than 14 cycles
| 5 | 58.6 |  |  |  | no more than 14 cycles
|  | TOTAL | 0 | 0
Does your company trip additional load at frequencies lower than the minimum standard of 58.3 Hz?
Yes ___ No ___
If so, please fill in the following table completely.
|  | Frequency | % of Load at Peak | MW at Peak |  | Total Tripping (relay + breaker) Time
58.1
57.9
57.7
57.5
|  | TOTAL | 0 | 0
Comments:
(Page 1 of 2)
How much load will your company trip at each of the following frequency points to comply with the
NWPP sub-area Plan (1b)(load shedding to correct for underfrequency stalling):
| Block | Frequency | % of Load at Peak | MW at Peak |  | Total Tripping (relay + breaker) Time
| 6 | 59.3 |  |  |  | 15 sec
| 7 | 59.5 |  |  |  | 30 sec
| 8 | 59.5 |  |  |  | 1 min
|  | TOTAL | 0 | 0
Comments:
How much load will your company restore at each of the following frequency points to comply with the
NWPP sub-area Plan (1b)(automatic load restoration to correct for frequency overshoot):
| Block | Frequency | % of Load at Peak | MW at Peak |  | Total Tripping (relay + breaker) Time
| 9 | 60.5 |  |  |  | 30 sec
| 10 | 60.7 |  |  |  | 5 sec
| 11 | 60.9 |  |  |  | 0.25 sec
|  | TOTAL | 0 | 0
Comments:
Does your company have additional automatic load restoration at frequencies not listed in the table
above? Yes ___ No ___
If so, please fill out the following table completely and add comments to demonstrate your compliance.
|  | Frequency | % of Load at Peak | MW at Peak |  | Total Tripping (relay + breaker) Time
|  | TOTAL | 0 | 0
Comments:
(Page 2 of 2)
Northern Island
Southern Island

## Tab 1c - Aggregate Load (SILTP)
OFF-NOMINAL FREQUENCY SYSTEM PROTECTION AND RESTORATION PLAN
2018
Compliance with the
Southern Island Load Tripping Plan (SILTP) (Plan 1c)
Company Name: _____________________________________________
How is your company complying with the Southern Island Load Tripping Plan?
| ___ Direct Load Tripping |  |  | ___ 59.6 Hz Tripping |  |  |  | __ 59.5 Hz Tripping
Based on the response above, what is the amount of load that your company trips to comply with the
SILTP (1c)?
| During Spring: ___________ MW |  |  |  |  | During Summer: ________ MW
Does your company change the load armed to be tripped seasonally?
|  |  | ___ Yes |  | __ No
If yes, provide a set of data for all seasons that have different loads armed to be tripped.
Are there any other exceptions to the SILTP? ___ Yes __ No
If yes, please explain:
Company Peak Load that participates in the SILTP (1c): ______ MW
Did you move load from 59.1 Hz to 59.5/59.6 Hz? ___ Yes __ No
How much load will your company trip at each of the following frequency points to comply with the
SILTP (1c) (no intentional tripping time delay):
| Block | Frequency | % of Load |  | MW |  | Total Tripping (relay + breaker) Time
|  |  | Spring | Summer | Spring | Summer
|  | DLT (SILTP) |  |  |  |  | no more than 14 cycles
|  | 59.6 (SILTP) |  |  |  |  | no more than 14 cycles
|  | 59.5 (SILTP) |  |  |  |  | no more than 14 cycles
| 1 | 59.1 |  |  |  |  | no more than 14 cycles
| 2 | 58.9 |  |  |  |  | no more than 14 cycles
| 3 | 58.7 |  |  |  |  | no more than 14 cycles
| 4 | 58.5 |  |  |  |  | no more than 14 cycles
| 5 | 58.3 |  |  |  |  | no more than 14 cycles
|  | TOTAL | 0% | 0% | 0 | 0
Does your company trip additional load at frequencies lower than the minimum standard of 58.3 Hz?
Yes ___ No ___
If so, please fill in the following table completely.
|  | Frequency | % of Load |  | MW |  | Total Tripping (relay + breaker) Time
|  |  | Spring | Summer | Spring | Summer
58.1
57.9
57.7
57.5
|  | TOTAL | 0% | 0% | 0 | 0
Comments:
(Page 1 of 2)
How much load will your company trip at each of the following frequency points to comply with the
SILTP (1c) (load shedding to correct for underfrequency stalling):
| Block | Frequency | % of Load |  | MW |  | Total Tripping (relay + breaker) Time
|  |  | Spring | Summer | Spring | Summer
| 6 | 59.3 |  |  |  |  | 15 sec
| 7 | 59.5 |  |  |  |  | 30 sec
| 8 | 59.5 |  |  |  |  | 1 min
|  | TOTAL | 0% | 0% | 0 | 0
Comments:
How much load will your company restore at each of the following frequency points to comply with the
SILTP (1c) (automatic load restoration to correct for frequency overshoot):
| Block | Frequency | % of Load |  | MW |  | Total Tripping (relay + breaker) Time
|  |  | Spring | Summer | Spring | Summer
| 9 | 60.5 |  |  |  |  | 30 sec
| 10 | 60.7 |  |  |  |  | 5 sec
| 11 | 60.9 |  |  |  |  | 0.25 sec
|  | TOTAL | 0% | 0% | 0 | 0
Comments:
Does your company have additional automatic load restoration at frequencies not listed in the table
above? Yes ___ No ___
If so, please fill out the following table completely and add comments to demonstrate your compliance.
|  | Frequency | % of Load |  | MW |  | Total Tripping (relay + breaker) Time
|  |  | Spring | Summer | Spring | Summer
|  | TOTAL | 0% | 0% | 0 | 0
Comments:
(Page 2 of 2)
Northern Island
Southern Island

## Tab 2 - Detail Load
UNDERFREQUENCY LOAD SHED
UFLS SCHEDULE (2018) __________
Total System Peak in (Year): ___________ MW
| UF Block (SILTP) | Element Tripped (Line, Substation, Transformer, Feeder) | Breaker Number(s) | Substation Name or Line From |  | Line To |  | WECC Zone | WECC Area | Trip Freq. (Hz) | Reset Freq. (Hz) | Trip Time Delay (sec) | Breaker Time (cycles) | Total Tripping Time | Manual Restore Delay Time (Min) | Load Shed MW
|  |  |  | WECC Bus Name | WECC Bus # | WECC Bus Name | WECC Bus #
DLT
DLT
DLT
DLT
DLT
DLT
|  |  |  | Req. MW Load Shed for Block #1 | [7 empty] | Block #1 Total MW Load Shed
|  |  |  | Req. % Load Shed for Block #1 | [7 empty] | Block #1 % Load Shed
Note:
| UF Block (SILTP) | Element Tripped (Line, Substation, Transformer, Feeder) | Breaker Number(s) | Substation Name or Line From |  | Line To |  | WECC Zone | WECC Area | Trip Freq. (Hz) | Reset Freq. (Hz) | Trip Time Delay (sec) | Breaker Time (cycles) | Total Tripping Time | Manual Restore Delay Time (Min) | Load Shed MW
|  |  |  | WECC Bus Name | WECC Bus # | WECC Bus Name | WECC Bus #
59.6
59.6
59.6
59.6
59.6
59.6
|  |  |  | Req. MW Load Shed for Block #1 | [7 empty] | Block #1 Total MW Load Shed
|  |  |  | Req. % Load Shed for Block #1 | [7 empty] | Block #1 % Load Shed
Note:
| UF Block (SILTP) | Element Tripped (Line, Substation, Transformer, Feeder) | Breaker Number(s) | Substation Name or Line From |  | Line To |  | WECC Zone | WECC Area | Trip Freq. (Hz) | Reset Freq. (Hz) | Trip Time Delay (sec) | Breaker Time (cycles) | Total Tripping Time | Manual Restore Delay Time (Min) | Load Shed MW
|  |  |  | WECC Bus Name | WECC Bus # | WECC Bus Name | WECC Bus #
59.5
59.5
59.5
59.5
59.5
59.5
|  |  |  | Req. MW Load Shed for Block #1 | [7 empty] | Block #1 Total MW Load Shed
|  |  |  | Req. % Load Shed for Block #1 | [7 empty] | Block #1 % Load Shed
Note:
(Page 1 of 4)
UNDERFREQUENCY LOAD SHED
UFLS SCHEDULE (YEAR) _________
| UF Block # | Element Tripped (Line, Substation, Transformer, Feeder) | Breaker Number(s) | Substation Name or Line From |  | Line To |  | WECC Zone | WECC Area | Trip Freq. (Hz) | Reset Freq. (Hz) | Trip Time Delay (sec) | Breaker Time (cycles) | Total Tripping Time | Manual Restore Delay Time (Min) | Load Shed MW
|  |  |  | WECC Bus Name | WECC Bus # | WECC Bus Name | WECC Bus #
1
1
1
1
1
1
|  |  |  | Req. MW Load Shed for Block #1 | [7 empty] | Block #1 Total MW Load Shed
|  |  |  | Req. % Load Shed for Block #1 | [7 empty] | Block #1 % Load Shed
Note:
2
2
2
2
2
2
|  |  |  | Req. MW Load Shed for Block #2 | [7 empty] | Block #2 Total MW Load Shed
|  |  |  | Req. % Load Shed for Block #2 | [7 empty] | Block #2 % Load Shed
Note:
3
3
3
3
3
|  |  |  | Req. MW Load Shed for Block #3 | [7 empty] | Block #3 Total MW Load Shed
|  |  |  | Req. % Load Shed for Block #3 | [7 empty] | Block #3 % Load Shed
Note:
4
4
4
4
4
|  |  |  | Req. MW Load Shed for Block #4 | [7 empty] | Block #4 Total MW Load Shed
|  |  |  | Req. % Load Shed for Block #4 | [7 empty] | Block #4 % Load Shed
Note:
5
5
5
5
5
|  |  |  | Req. MW Load Shed for Block #5 | [7 empty] | Block #5 Total MW Load Shed
|  |  |  | Req. % Load Shed for Block #5 | [7 empty] | Block #5 % Load Shed
Note:
(Page 2 of 4)
UNDERFREQUENCY LOAD SHED
UFLS SCHEDULE (YEAR) _________
Automatic load shedding to correct for under frequency stalling.
| UF Block # | Element Tripped (Line, Substation, Transformer, Feeder) | Breaker Number(s) | Substation Name or Line From |  | Line To |  | WECC Zone | WECC Area | Trip Freq. (Hz) | Reset Freq. (Hz) | Trip Time Delay (sec) | Breaker Time (cycles) | Total Tripping Time | Manual Restore Delay Time (Min) | Load Shed MW
|  |  |  | WECC Bus Name | WECC Bus # | WECC Bus Name | WECC Bus #
6
6
6
6
6
|  |  |  | Req. MW Load Shed for Block #6 | [7 empty] | Block #6 Total MW Load Shed
|  |  |  | Req. % Load Shed for Block #6 | [7 empty] | Block #6 % Load Shed
Note:
7
7
7
7
7
7
|  |  |  | Req. MW Load Shed for Block #7 | [7 empty] | Block #7 Total MW Load Shed
|  |  |  | Req. % Load Shed for Block #7 | [7 empty] | Block #7 % Load Shed
Note:
8
8
8
8
8
8
|  |  |  | Req. MW Load Shed for Block #8 | [7 empty] | Block #8 Total MW Load Shed
|  |  |  | Req. % Load Shed for Block #8 | [7 empty] | Block #8 % Load Shed
Note:
(Page 3 of 4)
UNDERFREQUENCY LOAD SHED
UFLS SCHEDULE (YEAR) _________
Load automatically restored to correct for frequency overshoot.
| Auto Reset Block # | Element Tripped (Line, Substation, Transformer, Feeder) | Breaker Number(s) | Substation Name or Line From |  | Line To |  | WECC Zone | WECC Area | Over Freq. (Hz) | Reset Freq. (Hz) | Automatic Restoration Time Delay (sec) |  |  |  | Load Restore MW
|  |  |  | WECC Bus Name | WECC Bus # | WECC Bus Name | WECC Bus #
9
9
|  |  |  | Req. MW Load Restore for Block #9 | [7 empty] | Total MW Load Restore
|  |  |  | Req. % Load Restore for Block #9 | [7 empty] | % Load Restore for this Block
Note:
10
10
10
|  |  |  | Req. MW Load Restore for Block #10 | [7 empty] | Total MW Load Restore
|  |  |  | Req. % Load Restore for Block #10 | [7 empty] | % Load Restore for this Block
Note:
11
11
11
|  |  |  | Req. MW Load Restore for Block #11 | [7 empty] | Total MW Load Restore
|  |  |  | Req. % Load Restore for Block #11 | [7 empty] | % Load Restore for this Block
Note:
Does your company use only solid state and/or microprocessor underfrequency relays to comply with the WECC Coordinated Plan? ____ Yes ____ No
If No, please explain here:
Will your company's frequency relays use define time characteristics and operate within any voltage above 80% of nominal? ____ Yes ____ No
If No, please explain here:
Are there any other exceptions to the WECC Coordinated Plan? ____ Yes ____ No
If Yes, please explain here:
(Page 4 of 4)

## Tab 3 - Load PSLF dyd data
Dynamic Model in PSLF format - Line and Load Protection Models
Notes:
NEW | Models should also be reflected in the WECC Master Dynamics File by submitting the DYD data to the applicable Transmission Planner or directly to WECC.
UPDATE | Models should be based on system configurations in current Operating Base Cases.
DELETE | **PLEASE ENTER NAME AND ID AS IT IS IN THE WECC BASE CASE
NO CHANGES REQUIRED | Dynamic Model for Lines
| Model Status | Model | From Bus Number | Name | Voltage | ID | To Bus Number | Name | Voltage | ID | PSLF Syntax | Output Channel Level | Input Signal (0=f, 1=v) | Transducer or Filter Time Constant (sec) | Mode Flag | Far End Bus Number | Relay pickup setting | Relay Time Setting | Circuit Breaker Operating Time (sec) | External Monitored Bus Number | Output Signal
|  | tlin1 | [8 empty] | 1 : | #9
|  | tlin1 | [8 empty] | 1 : | #9
|  | tlin1 | [8 empty] | 1 : | #9
|  | tlin1 | [8 empty] | 1 : | #9
|  | tlin1 | [8 empty] | 1 : | #9
|  | tlin1 | [8 empty] | 1 : | #9
|  | tlin1 | [8 empty] | 1 : | #9
|  | tlin1 | [8 empty] | 1 : | #9
|  | tlin1 | [8 empty] | 1 : | #9
|  | tlin1 | [8 empty] | 1 : | #9
|  | tlin1 | [8 empty] | 1 : | #9
|  | tlin1 | [8 empty] | 1 : | #9
|  | tlin1 | [8 empty] | 1 : | #9
Add additional rows as necessary
**PLEASE ENTER NAME AND ID AS IT IS IN THE WECC BASE CASE
Dynamic Model for Substations
| Model Status | Model | Bus Number | Name | Voltage | ID | PSLF Syntax | Output Channel Level | Transducer Time Constant (sec) | Reset Time (sec) | First stage |  |  |  | Second stage (if applicable) |  |  |  | Third stage (if applicable) |  |  |  | Fourth stage (if applicable) |  |  |  | Fifth stage (if applicable) |  |  |  | Sixth stage (if applicable) |  |  |  | Seventh stage (if applicable) |  |  |  | Eight stage (if applicable) |  |  |  | Ninth stage (if applicable)
[11 empty] | Pick up (Hz) | Time Delay (sec) | Breaker delay (sec) | Shedding Fraction (pu) | Pick up (Hz) | Time Delay (sec) | Breaker delay (sec) | Shedding Fraction (pu) | Pick up (Hz) | Time Delay (sec) | Breaker delay (sec) | Shedding Fraction (pu) | Pick up (Hz) | Time Delay (sec) | Breaker delay (sec) | Shedding Fraction (pu) | Pick up (Hz) | Time Delay (sec) | Breaker delay (sec) | Shedding Fraction (pu) | Pick up (Hz) | Time Delay (sec) | Breaker delay (sec) | Shedding Fraction (pu) | Pick up (Hz) | Time Delay (sec) | Breaker delay (sec) | Shedding Fraction (pu) | Pick up (Hz) | Time Delay (sec) | Breaker delay (sec) | Shedding Fraction (pu) | Pick up (Hz) | Time Delay (sec) | Breaker delay (sec) | Shedding Fraction (pu)
|  | lsdt9 |  |  |  |  | : | #9
|  | lsdt9 |  |  |  |  | : | #9
|  | lsdt9 |  |  |  |  | : | #9
|  | lsdt9 |  |  |  |  | : | #9
|  | lsdt9 |  |  |  |  | : | #9
|  | lsdt9 |  |  |  |  | : | #9
|  | lsdt9 |  |  |  |  | : | #9
|  | lsdt9 |  |  |  |  | : | #9
|  | lsdt9 |  |  |  |  | : | #9
|  | lsdt9 |  |  |  |  | : | #9
|  | lsdt9 |  |  |  |  | : | #9
|  | lsdt9 |  |  |  |  | : | #9
|  | lsdt9 |  |  |  |  | : | #9
Add additional rows as necessary

## Tab 4a - Generator
OFF-FREQUENCY SYSTEM PROTECTION AND RESTORATION PLAN
2018
Compliance with the WECC
Coordinated Plan, Northwest Power Pool (NWPP) sub-area Coordinated Plan, &
Southern Island Load Tripping Plan (SILTP)
Company Name: ___________________________________________________
Location of Generation: ____ Northern Island _____ Southern Island
GENERATOR FREQUENCY TRIPPING SCHEDULE
TO COMPLY WITH THE WECC COORDINATED PLAN
Please provide a frequency-tripping schedule that you use for your generators to comply with the WECC
Coordinated Plan (fill out a line for each step). If you use different tripping plans for different generators,
please fill in the Generator/Generator Group column. If your tripping plan differs from the WECC Plan,
please explain in the comments section. COLUMN D VALUES SHOULD BE IN SECONDS. ONLY INCLUDE THE VALUE, PLEASE DON'T TYPE (s, sec, seconds) AFTER THE VALUE. COLUMN C SHOULD BE IN HERTZ, DON'T TYPE Hz
| Frequency (Hz) | Tripping Time Delay IN SECONDS | WECC Bus # | WECC Unit # | Generator/Generator Group* |  | Physical Location
* Includes Generator, Generator/Pump, and Pump
Comments:
(Page 1 of 2)
GENERATOR FREQUENCY TRIPPING SCHEDULE
TO COMPLY WITH THE WECC COORDINATED PLAN
Does your company use only solid state and/or microprocessor underfrequency relays to comply with the
| WECC Coordinated Plan? |  |  |  |  | _______ Yes ______ No
If No, please explain here:
Will your company's frequency relays use define time characteristics and operate within any voltage
| above 80% of nominal? |  |  |  |  | _______ Yes ______ No
If No, please explain here:
Are there any other exceptions to the WECC Off-Nominal Frequency Load Shedding and Restoration Plan?
______ Yes _____ No
Please explain here:
(Page 2 of 2)
Northern Island
Southern Island

## Tab 4b - Gen PSLF dyd data
Dynamic Model in PSLF format - Generator Frequency Protection Model
Notes:
Models should be based on system configurations in current Operating Base Cases.
Only include models for generators that meet the requirements for modeling per PRC-006-3 Requirements D.B.4.1 through D.B.4.6 (re-stated below for convenience)
**PLEASE ENTER NAME AND ID AS IT IS IN THE WECC BASE CASE
Dynamic Model for Generators
Model Status | Model | From Bus Number | Name | Voltage | ID | To Bus Number (if applicable) | Name (if applicable) | Voltage (if applicable) | PSLF Syntax | Output Channel Level | Frequency Reference (default = 60 Hz) | Delta freq trip level 1, Hz | Delta freq trip level 2, Hz | Delta freq trip level 3, Hz | Delta freq trip level 4, Hz | Delta freq trip level 5, Hz | Delta freq trip level 6, Hz | Delta freq trip level 7, Hz | Delta freq trip level 8, Hz | Delta freq trip level 9, Hz | Delta freq trip level 10, Hz | Delta freq trip time 1, sec | Delta freq trip time 2, sec | Delta freq trip time 3, sec | Delta freq trip time 4, sec | Delta freq trip time 5, sec | Delta freq trip time 6, sec | Delta freq trip time 7, sec | Delta freq trip time 8, sec | Delta freq trip time 9, sec | Delta freq trip time 10, sec | Alarm (default = 0)
| lhfrt | [7 empty] | : | #9
| lhfrt | [7 empty] | : | #9
| lhfrt | [7 empty] | : | #9
| lhfrt | [7 empty] | : | #9
| lhfrt | [7 empty] | : | #9
| lhfrt | [7 empty] | : | #9
| lhfrt | [7 empty] | : | #9
| lhfrt | [7 empty] | : | #9
| lhfrt | [7 empty] | : | #9
| lhfrt | [7 empty] | : | #9
| lhfrt | [7 empty] | : | #9
| lhfrt | [7 empty] | : | #9
| lhfrt | [7 empty] | : | #9
Add additional rows as necessary
PRC-006-3, Requirement D.B.4:
|  | D.B.4.1 | Underfrequency trip settings of individual generating units greater
than 20 MVA (gross nameplate rating) directly connected to the BES
that trip above the Generator Underfrequency Trip Modeling curve
in PRC-006-3 - Attachment 1.
|  | D.B.4.2 | Underfrequency trip settings of generating plants/facilities greater
than 75 MVA (gross aggregate nameplate rating) directly connected
to the BES that trip above the Generator Underfrequency Trip
Modeling curve in PRC-006-3 - Attachment 1.
|  | D.B.4.3 | Underfrequency trip settings of any facility consisting of one or more
units connected to the BES at a common bus with total generation
above 75 MVA (gross nameplate rating) that trip above the
Generator Underfrequency Trip Modeling curve in PRC-006-3 -
Attachment 1.
|  | D.B.4.4 | Overfrequency trip settings of individual generating units greater
than 20 MVA (gross nameplate rating) directly connected to the BES
that trip below the Generator Overfrequency Trip Modeling curve in
PRC-006-3 — Attachment 1.
|  | D.B.4.5 | Overfrequency trip settings of generating plants/facilities greater
than 75 MVA (gross aggregate nameplate rating) directly connected
to the BES that trip below the Generator Overfrequency Trip
Modeling curve in PRC-006-3 — Attachment 1.
|  | D.B.4.6 | Overfrequency trip settings of any facility consisting of one or more
units connected to the BES at a common bus with total generation
above 75 MVA (gross nameplate rating) that trip below the
Generator Overfrequency Trip Modeling curve in PRC-006-3 —
Attachment 1.

## Tab 5 - Tie Line
WECC Coordinated Plan
2018
Compliance with the WECC
Coordinated Plan, Northwest Power Pool (NWPP) sub-area Coordinated Plan, and
Southern Island Load Tripping Plan (SILTP)
Company Name: ____________________________________________________
Location of Generation: ____ Northern Island _____ Southern Island
TIE-LINE UNDERFREQUENCY TRIPPING
TO COMPLY WITH THE WECC COORDINATED PLAN
Please provide tie-line under-frequency tripping that your company use to comply with the WECC
Coordinated Plan. If you use different tripping plans for different tie-line, please fill in
the table below. If your tripping plan differs from the WECC Plan, please
explain in the comments section.
| Frequency (Hz) | Tripping Time Delay | Transmission Line Name | Voltage (kV) | Metering End | Name of Utility Company Transmission Line Ties to
Comments:
(Page 1 of 2)
TIE-LINE UNDERFREQUENCY TRIPPING
TO COMPLY WITH THE WECC COORDINATED PLAN
Does your company use only solid state and/or microprocessor underfrequency relays to comply with the
WECC Coordinated Plan?
If No, please explain here:
Will your company's frequency relays use define time characteristics and operate within any voltage
above 80% of nominal?
If No, please explain here:
Are there any other exceptions to the WECC Off-Nominal Frequency Load Shedding and Restoration Plan?
______ Yes _____ No
Please explain here:
(Page 2 of 2)

## Reference Documentation
WECC Island Location Map - NE/SE separation scheme cut-plane

## Track History of Changes
# | Tasks/Actions | Date | By | Comments
1 | Draft data submittals request form for WECC-0065 Under-frequency Load Shedding Criterion | 2010-02-09 | Chue Thor - SMUD | These data submittal request forms were draft based 'Off-Frequency System Protection and Restoration Committee' form and internal discussions.
2 | Revised to align with updated Criterion from December 2010 Drafting Team Meeting | 2010-12-17 | Mark Willis - SMUD
3 | Added Tab 4b, revised "Tab 4" to "Tab 4a", updated Contents and Applicability tab to reflect changes. | 2014-04-09 | UFLSRG | PSLF model lhfrt was added to the WECC Approved Dynamics Model List in August 2013.
4 | Clarified Tabs 1a, 1b, and 1c. Corrected "Delta freq trip time" units on Tab 4b. | 2015-04-08 | UFLSRG
5 | Included WECC Island Location Map - NE/SE separation scheme cut-plane and Frequency Ride Through (lhfrt) Description on the Reference Documentation Tab | 2015-05-01 | Kent Bolton - WECC | Added reference information to address frequently asked questions
6 | Cell C3 updated to reflect most recent SAR | 2016-03-09 | W. Shannon Black - WECC
7 | Revised for clarity | 2016-04-25 | UFLSRG
8 | Added information on WECC islands, clarified requirements for generator dyd models, and clarified scope of load dyd models | 2017-04-07 | UFLSRG
9 | Locked sheets and some columns so they could not be deleted | 2018-04-30 | Tyson Niemann-WECC | Locked cells for consistency purposes
10 | Added "Model Status" column on Tab 3 & Tab 4b | 2019-12-30 | Tyson Niemann-WECC
Notes.
1. This tab was created to track the progress of drafting the 'Data Submittals Request Form'.