Reliability Standard Audit Worksheet

CIP-001-MX-0  — Sabotage Reporting

Mexico Reliability Standard Effective Date: April 1, 2014

This section must be completed by the Compliance Monitor.

Designated Entity:

WCR Number:

Compliance Assessment Date:

Compliance Monitoring Method:

Applicable Function(s): RC, BA, TOP

Names of Auditors:

WECC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate its assessment of a Designated Entity’s compliance with this Mexico Reliability Standard. The RSAW language is written to specific versions of each Mexico Reliability Standard. Entities using this RSAW should choose the version of the RSAW applicable to the Mexico Reliability Standard being assessed. While the information included in this RSAW provides some of the methodology that WECC has elected to use to assess compliance with the requirements of the Mexico Reliability Standard, this document should not be treated as a substitute for the Mexico Reliability Standard or viewed as additional Mexico Reliability Standard requirements. In all cases, the user should rely on the language contained in the Mexico Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Mexico Reliability Standard. This RSAW may not necessarily be updated with the same frequency as Mexico Reliability Standards are approved. Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Mexico Reliability Standard. It is the responsibility of the Designated Entity to verify its compliance with the latest approved version of the Mexico Reliability Standards, by the applicable governmental authority, relevant to its designated reliability function. The RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a Designated Entity may produce or may be asked to produce to demonstrate compliance with the Mexico Reliability Standard. A Designated Entity’s adherence to the examples contained within this RSAW does not necessarily demonstrate complete compliance with the applicable Mexico Reliability Standard. The auditor reserves the right to request additional evidence from the Designated Entity that is not included in this RSAW.

Findings Table:

| Req. | Finding | Summary & Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1. |  |  | RC, BA, TOP |
| R2. |  |  | RC, BA, TOP |
| R3. |  |  | RC, BA, TOP |
| R4. |  |  | RC, BA, TOP |

| Req. | Recommendations |
| --- | --- |

| Req. | Areas of Concern |
| --- | --- |

# Subject Matter Experts

Identify Subject Matter Expert(s) responsible for this Mexico Reliability Standard.  (Insert additional rows if necessary)

Designated Entity Response (Required):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

# R1 Supporting Evidence and Documentation

R1.  Each Reliability Coordinator, Balancing Authority and Transmission Operator shall have procedures for the recognition of and for making their operating personnel aware of sabotage events on its facilities and multi-site sabotage affecting larger portions of the Interconnection.

Designated Entity Response (Required):

Describe, in narrative form, how you meet compliance with this requirement.

Designated Entity Evidence (Required):

Provide the following for all evidence submitted (Insert additional rows if necessary): File Name, File Extension, Document Title, Revision, Date, Page(s), Section(s), Section Title(s), Description

Compliance Assessment Approach Specific to CIP-001-MX-0, R1

This section must be completed by the Compliance Monitor

Review the evidence to verify the Designated Entity has:

|  | Procedures for recognition of sabotage events on its facilities. |
| --- | --- |
|  | Procedures for recognition of sabotage events on multiple sites that would affect larger portions of the Interconnection. (Facilities not owned or operated by the entity) i.e. adjacent transmission owner. |
|  | Procedures contain steps for making their operating personnel (includes field personnel) aware of sabotage events on both its facilities and on multiple sites that would affect larger portions of the Interconnection. |

Compliance Summary:

(Finding Summary):

Primary Documents Supporting Finding:

Auditor  Notes:

# R2 Supporting Evidence and Documentation

R2.  Each Reliability Coordinator, Balancing Authority and Transmission Operator, shall have procedures for the communication of information concerning sabotage events to appropriate parties in the Interconnection.

Designated Entity Response (Required):

Describe, in narrative form, how you meet compliance with this requirement.

Designated Entity Evidence (Required):

Provide the following for all evidence submitted (Insert additional rows if necessary): File Name, File Extension, Document Title, Revision, Date, Page(s), Section(s), Section Title(s), Description

Compliance Assessment Approach Specific to CIP-001-MX-0, R2

This section must be completed by the Compliance Monitor

Review the evidence to verify the Designated Entity has:

|  | Procedures for the communication of information concerning sabotage to the appropriate parties in the Interconnection. |
| --- | --- |
|  | Review the procedure for a list of the appropriate parties of the interconnection with the contact information. |
| Note to auditor: “appropriate parties in the Interconnection” refer collectively to entities with whom the reporting entity has responsibilities and/or obligations for the communication of physical or cyber security event information. |  |

Compliance Summary:

(Finding Summary):

Primary Documents Supporting Finding:

Auditor  Notes:

# R3 Supporting Evidence and Documentation

R3.  Each Reliability Coordinator, Balancing Authority and Transmission Operator shall provide its operating personnel with sabotage response guidelines, including personnel to contact, for reporting disturbances due to sabotage events.

Designated Entity Response (Required):

Describe, in narrative form, how you meet compliance with this requirement.

Designated Entity Evidence (Required):

Provide the following for all evidence submitted (Insert additional rows if necessary): File Name, File Extension, Document Title, Revision, Date, Page(s), Section(s), Section Title(s), Description

Compliance Assessment Approach Specific to CIP-001-MX-0, R3

This section must be completed by the Compliance Monitor

Review the evidence to verify the Designated Entity has:

|  | Sabotage response procedure or guidelines have been provided to the operating personnel (including field personnel) |
| --- | --- |
|  | Guidelines could be provided during safety meeting, training sessions, by email, posted online, or any other method the entity used to provide sabotage guidelines. List of operating personnel and titles. |
|  | Sabotage response guidelines include personnel to contact for reporting disturbances due to sabotage events. |
|  | Example could include a contact list to include company, title and updated phone list for reporting disturbances due to sabotage events |
| Note to auditor: Confirm the guidelines are available in the operations control room either hard or electronic copy. Utilize operator interview to determine knowledge of sabotage response reporting. |  |

Compliance Summary:

(Finding Summary):

Primary Documents Supporting Finding:

Auditor  Notes:

# R4 Supporting Evidence and Documentation

R4.  Each Reliability Coordinator, Balancing Authority and Transmission Operator shall establish communications contacts, as applicable, with local Federal Bureau of Investigation (FBI) or physical security personnel and develop reporting procedures as appropriate to their circumstances.

Designated Entity Response (Required):

Describe, in narrative form, how you meet compliance with this requirement.

Designated Entity Evidence (Required):

Provide the following for all evidence submitted (Insert additional rows if necessary): File Name, File Extension, Document Title, Revision, Date, Page(s), Section(s), Section Title(s), Description

Compliance Assessment Approach Specific to CIP-001-MX-0, R4

This section must be completed by the Compliance Monitor

Review the evidence to verify the Designated Entity has:

|  | Procedure for reporting sabotage to the local FBI or physical security personnel as appropriate. |
| --- | --- |
|  | FBI or physical security personnel current contact phone numbers of the local office. |
|  | Evidence of correct and working contact information can include screen shots of local FBI or physical security personnel websites. |
| Notes to auditor: Sabotage reporting procedures do not require direct contact of the local FBI or physical security personnel by the entity. In some cases contact is made by physical security personnel. Evidence of two-way communication with the local FBI or physical security personnel is not required. CFE registered entities may designate a local law enforcement jurisdiction within not otherwise identified as “FBI” (Federal Bureau of Investigation) |  |

Compliance Summary:

(Finding Summary):

Primary Documents Supporting Finding:

Auditor  Notes:

Supplemental Information

Other – The list of questions above is not all inclusive of evidence required to show compliance with the Mexico Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Mexico Reliability Standard.

RSAW Revision History

| Revision Date | Comments |
| --- | --- |
| May 14, 2014 | Initial RSAW. |