## Slide 1: CMPLDW
March 2012
Notes: <number>

## Slide 2: WECC Composite Load Model (CMPLDW)
Electronic
M
M
M
69-kV
115-kV
138-kV
Static
AC
12.5-kV
13.8-kV
UVLS
UFLS

## Slide 3: Composite Load Model Data
Electronic
M
Load Model
Composition
Data
M
M
115-kV
230-kV
Static
Load Component
Model
Data
Distribution Equivalent Data
UVLS and UFLS Data
M
Notes: <number>

## Slide 4: Load Composition Data
Notes: <number>

## Slide 5: CMPLDW Long ID
“Long ID” field in PSLF program is used to identify the load climate zone and substation type
The LID consists of 7 characters.
For commercial, residential, and rural loads, the LID code is a combination of the Climate Zone and Feeder Type: <3-character climate zone>_<3-character load class>
  A load in downtown Phoenix with high concentration of commercial loads would be identified as "DSW_COM"
  Rural agricultural load in Moses Lake, WA would be identified as "NWI_RAG"
For industrial loads, the LID code will be one of the Industrial Load IDs, which starts with “IND_”.
For power plant auxiliary loads, the LID code will be “PPA_AUX”.

## Slide 6: WECC Climate Areas
ID | Climate Zone | Representative City
NWC | Northwest Coast | Seattle, Vancouver BC
NWV | Northwest Valley | Portland OR
NWI | Northwest Inland | Boise, Tri-Cities, Spokane
RMN | Rocky Mountain North | Calgary, Montana, Wyoming
NCC | Northern California Coast | Bay Area
NCV | Northern California Valley | Sacramento
NCI | Northern California Inland | Fresno
SCC | Southern California Coast | LA, San Diego
SCV | Southern California Valley | LA, San Diego
SCI | Southern California Inland | LA, San Diego
DSW | Desert Southwest | Phoenix, Riverside, Las Vegas
HID | High Desert | Salt Lake City, Albuquerque, Denver, Reno

## Slide 7: LID Regions
NWI
NWV
NWC`
RMN
HID
DSW
NCC
NCV
SCC
SCV
NWC – Northwest coast
NWV – Northwest valley
NWI – Northwest inland
RMN – Rocky mountain
NCC – N. Calif. coast
NCV – N. Calif. valley
HID – High desert
SCC – S. Calif. coast
SCV – S. Calif. valley
DSW – Desert southwest

## Slide 8: Substation / Feeder Types
ID | Feeder Type | Residential | Commercial | Industrial | Agricultural
RES | Residential | 70 to 85% | 15 to 30% | 0% | 0%
COM | Commercial | 10 to 20% | 80 to 90% | 0% | 0%
MIX | Mixed | 40 to 60% | 40 to 60% | 0 to 20% | 0%
RAG | Rural Agricultural | 40% | 30% | 10% | 20%
Percentage is energy, not customer count