Reliability Standard Audit Worksheet

PER-002-MX-0 — Operating Personnel Responsibility and Authority

Mexico Reliability Standard Effective Date: January 1, 2014

This section must be completed by the Compliance Monitor.

Designated Entity:

WCR Number:

Compliance Assessment Date:

Compliance Monitoring Method:

Applicable Function(s): BA, TOP

Names of Auditors:

WECC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate its assessment of a Designated Entity’s compliance with this Mexico Reliability Standard. The RSAW language is written to specific versions of each Mexico Reliability Standard. Entities using this RSAW should choose the version of the RSAW applicable to the Mexico Reliability Standard being assessed. While the information included in this RSAW provides some of the methodology that WECC has elected to use to assess compliance with the requirements of the Mexico Reliability Standard, this document should not be treated as a substitute for the Mexico Reliability Standard or viewed as additional Mexico Reliability Standard requirements. In all cases, the user should rely on the language contained in the Mexico Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Mexico Reliability Standard. This RSAW may not necessarily be updated with the same frequency as Mexico Reliability Standards are approved. Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Mexico Reliability Standard. It is the responsibility of the Designated Entity to verify its compliance with the latest approved version of the Mexico Reliability Standards, by the applicable governmental authority, relevant to its designated reliability function. The RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a Designated Entity may produce or may be asked to produce to demonstrate compliance with the Mexico Reliability Standard. A Designated Entity’s adherence to the examples contained within this RSAW does not necessarily demonstrate complete compliance with the applicable Mexico Reliability Standard. The auditor reserves the right to request additional evidence from the Designated Entity that is not included in this RSAW.

Findings Table:

| Req. | Finding | Summary & Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1. |  |  | BA, TOP |
| R2. |  |  | BA, TOP |
| R3. |  |  | BA, TOP |
| R4. |  |  | BA, TOP |

| Req. | Recommendations |
| --- | --- |

| Req. | Areas of Concern |
| --- | --- |

# Subject Matter Experts

Identify Subject Matter Expert(s) responsible for this Mexico Reliability Standard.  (Insert additional rows if necessary)

Designated Entity Response (Required):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

# R1 Supporting Evidence and Documentation

R1.  Each Transmission Operator and Balancing Authority shall be staffed with adequately trained

operating personnel.

Designated Entity Response (Required):

Describe, in narrative form, how you meet compliance with this requirement.

Designated Entity Evidence (Required):

Provide the following for all evidence submitted (Insert additional rows if necessary): File Name, File Extension, Document Title, Revision, Date, Page(s), Section(s), Section Title(s), Description

Compliance Assessment Approach Specific to PER-002-MX-0, R1

This section must be completed by the Compliance Monitor

Review the evidence to verify if the entity has adequately trained operating personnel:

|  | Review the training requirements established by the entity. |
| --- | --- |
|  | Review training records for each operating personnel and verify the training requirements established in the training program were provided. |
| Note to Auditor: Entities are largely enabled to determine what “adequately” trained means for their system. The audit approach is to review the required training specified in the the entity’s training program, then simply verify the training was delivered. |  |

Compliance Summary:

(Finding Summary):

Primary Documents Supporting Finding:

Auditor  Notes:

# R2 Supporting Evidence and Documentation

R2.  Each Transmission Operator and Balancing Authority shall have a training program for all operating personnel that are in:

R2.1. Positions that have the primary responsibility, either directly or through communications with others, for the real-time operation of the interconnected Bulk Electric System.

R2.2. Positions directly responsible for complying with Mexico Reliability Standards.

Designated Entity Response (Required):

Describe, in narrative form, how you meet compliance with this requirement.

Designated Entity Evidence (Required):

Provide the following for all evidence submitted (Insert additional rows if necessary): File Name, File Extension, Document Title, Revision, Date, Page(s), Section(s), Section Title(s), Description

Compliance Assessment Approach Specific to PER-002-MX-0, R2

This section must be completed by the Compliance Monitor

Review the evidence to verify the entity has:

|  | Provided a training program for operating personnel in: - Positions that have the primary responsibility for the real-time operation of the interconnected Bulk Electric System. - Positions directly responsible for complying with Mexico Reliability Standards. |
| --- | --- |
|  | Review evidence or conduct interviews demonstrating any other operating positions in the control center |
| Note to Auditor: If working positions are located in the control center, other than operating personnel identify as applicable under R2, review evidence these other work positions are not performing tasks that apply under R2. |  |

Compliance Summary:

(Finding Summary):

Primary Documents Supporting Finding:

Auditor  Notes:

# R3 Supporting Evidence and Documentation

R3.  For personnel identified in Requirement R2, the Transmission Operator and Balancing Authority shall provide a training program meeting the following criteria:

R3.1. A set of training program objectives must be defined, based on Mexico Reliability Standards, entity operating procedures, and applicable regulatory requirements. These objectives shall reference the knowledge and competencies needed to apply those standards, procedures, and requirements to normal, emergency, and restoration conditions for the Transmission Operator and Balancing Authority operating positions.

R3.2. The training program must include a plan for the initial and continuing training of Transmission Operator and Balancing Authority operating personnel. That plan shall address knowledge and competencies required for reliable system operations.

R3.3. The training program must include training time for all Transmission Operator and Balancing Authority operating personnel to ensure their operating proficiency.

R3.4. Training staff must be identified, and the staff must be competent in both knowledge of system operations and instructional capabilities.

Designated Entity Response (Required):

Describe, in narrative form, how you meet compliance with this requirement.

Designated Entity Evidence (Required):

Provide the following for all evidence submitted (Insert additional rows if necessary): File Name, File Extension, Document Title, Revision, Date, Page(s), Section(s), Section Title(s), Description

Compliance Assessment Approach Specific to PER-002-MX-0, R3

This section must be completed by the Compliance Monitor

Review the evidence to verify the Designated Entity has:

| Review evidence the entity provided a training program including: |  |
| --- | --- |
|  | A set of training program objectives are defined and based on the following: - Mexico Reliability Standards - CFE operating procedures - Applicable regulatory requirements |
|  | Verify the objectives reference the knowledge and competencies needed to apply the objectives to normal, emergency, and restoration conditions. |
|  | Verify the training program includes: - A plan for Initial training - A plan for continuing training |
|  | Verify the training program includes time for training to ensure operating personnel proficiency. |
|  | Verify the training program includes identification of training staff that, as a whole, are competent in both knowledge of system operations and instructional capabilities. |
| Note to Auditor: |  |

Compliance Summary:

(Finding Summary):

Primary Documents Supporting Finding:

Auditor  Notes:

# R4 Supporting Evidence and Documentation

R4.  For personnel identified in Requirement R2, each Transmission Operator and Balancing Authority shall provide its operating personnel at least five days per year of training and drills using realistic simulations of system emergencies, in addition to other training required to maintain qualified operating personnel.

Designated Entity Response (Required):

Describe, in narrative form, how you meet compliance with this requirement.

Designated Entity Evidence (Required):

Provide the following for all evidence submitted (Insert additional rows if necessary): File Name, File Extension, Document Title, Revision, Date, Page(s), Section(s), Section Title(s), Description

Compliance Assessment Approach Specific to PER-002-MX-0, R4

This section must be completed by the Compliance Monitor

Review the evidence to verify the Designated Entity has:

| Review training records for each of the operating personnel: |  |
| --- | --- |
|  | Verify each operator received at least 32 hours of training and drills each calendar year |
|  | Verify the training courses addressed system emergencies |
|  | Verify at least some of the training hours utilized realistic simulations |
| Note to Auditor: |  |

Compliance Summary:

(Finding Summary):

Primary Documents Supporting Finding:

Auditor  Notes:

Supplemental Information

Other – The list of questions above is not all inclusive of evidence required to show compliance with the Mexico Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Mexico Reliability Standard.

RSAW Revision History

| Revision Date | Comments |
| --- | --- |
| May 13, 2014 | Initial RSAW. |