Reliability Standard Audit Worksheet

BAL-004-WECC-3 — Automatic Time Error Correction

This section must be completed by the Compliance Enforcement Authority.

| Registered Entity: | Registered name of entity being audited |
| --- | --- |
| NCR Number: | NCRnnnnn |
| Compliance Enforcement Authority: | Region or NERC performing audit |
| Compliance Assessment Date(s): | Month DD, YYYY, to Month DD, YYYY |
| Compliance Monitoring Method: | [On-site Audit ¦ Off-site Audit ¦ Spot Check] |
| Names of Auditors: | Supplied by CEA |

# Applicability of Requirements

|  | BA | DP | GO | GOP | IA | LSE | PA | PSE | RC | RP | RSG | TO | TOP | TP | TSP |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1. | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| R2. | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| R3. | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| R4. | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| R5. | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| R6. | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| R7. | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| R8. | X |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Legend:

| Text with blue background: | Fixed text – do not edit |
| --- | --- |
| Text entry area with Green background: | Entity-supplied information |
| Text entry area with white background: | Auditor-supplied information |

Findings Table:

| Req. | Finding | Summary & Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1. |  |  | BA |
| R2. |  |  | BA |
| R3. |  |  | BA |
| R4. |  |  | BA |
| R5. |  |  | BA |
| R6. |  |  | BA |
| R7. |  |  | BA |
| R8. |  |  | BA |

| Req. | Recommendations |
| --- | --- |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Positive Observations |
| --- | --- |

# Subject Matter Experts

Identify subject matter expert(s) responsible for this Reliability Standard.  Insert additional lines if necessary.

Registered Entity Response (Required):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

# R1 Supporting Evidence and Documentation

R1.	Each Balancing Authority shall operate its system such that, following the conclusion of each month, the month-end absolute value of its On-Peak and Off-Peak, Accumulated Primary Inadvertent Interchange (PIIaccum), as calculated by the WECC Interchange Tool (WIT) or its successor electronic confirmation tool, are each individually less than or equal to:

1.1. For load-serving Balancing Authorities, 150% of the previous calendar year’s integrated hourly Peak Demand,

1.2. For generation-only Balancing Authorities, 150% of the previous calendar year’s integrated hourly peak generation.

M1. Each Balancing Authority will have evidence that it operated its system such that, following the conclusion of each month, the month-end absolute value of its On- Peak and Off-Peak, Accumulated Primary Inadvertent Interchange (PIIaccum), as calculated by the WECC Interchange Tool (WIT) or its successor electronic confirmation tool, meets all criteria stated in Requirement R1.

Registered Entity Response (Required):

Summarize, in narrative form, how you meet compliance with this requirement.

Evidence Requested:

Provide the following evidence, or other evidence to demonstrate compliance.

- For each month of the audit assessment period within the data retention timelines, a copy of the WIT display which shows the value of the month-end On-Peak and Off-Peak (PIIaccum), - For load-serving Balancing Authorities the calendar year integrated hourly peak demand for each full year of the audit assessment period - For generation only Balancing Authorities the calendar year integrated hourly peak generation for each full year of the audit assessment period.

Registered Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

Audit Team Evidence Reviewed (This section to be completed by the Compliance Enforcement Authority):

Compliance Assessment Approach Specific to BAL-004-WECC-3 R1

This section must be completed by the Compliance Enforcement Authority.

Review the evidence to verify the entity has the following:

|  | If the entity is a load-serving BA, verify the absolute value of its Accumulated Primary Inadvertent Interchange (PIIaccum) for both the monthly On-Peak period and the monthly Off-Peak period are each individually less than or equal to 150% of the previous calendar year’s integrated hourly Peak Demand. |
| --- | --- |
|  | If the entity is a generation-only BA, verify the absolute value of its Accumulated Primary Inadvertent Interchange (PIIaccum) for both the monthly On-Peak period and the monthly Off-Peak period are each individually less than or equal to 150% of the previous calendar year’s integrated hourly peak generation. |

Compliance Summary:

(Finding Summary):

Primary Documents Supporting Finding:

Auditor Notes:

# R2 Supporting Evidence and Documentation

R2.  Each Balancing Authority shall, upon discovery of an error in the calculation of PIIhourly, recalculate within 90 days, the value of PIIhourly and adjust the PIIaccum from the time of the error.

M2. Forms of acceptable evidence of compliance with Requirement R2 include but are not limited to any one of the following:

- Data, screen shots from the WECC Interchange Tool (WIT) or its successor electronic confirmation tool,

- Data, screen shots from the internal Balancing Authority tool, or

- Production of data from any other databases, spreadsheets, displays.

Registered Entity Response (Required):

Summarize, in narrative form, how you meet compliance with this requirement.

Question:  Were any errors in the calculation of PIIhourly discovered during the audit period? If no, state so and describe the process used for knowing such an error did not occur. If yes, complete the Evidence Requested Section which follows.

Evidence Requested:

Provide the following evidence, or other evidence to demonstrate compliance.

Screenshots or data showing the following information for each instance of error in PIIhourly: - Value of PIIhourly that was in error, - Value of the associated PIIaccum, - The corrected value of PIIhourly - The new value of after the change to PIIhourly - Date Error was discovered - Date Error was corrected. - Description of why the error occurred

Registered Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

Audit Team Evidence Reviewed (This section to be completed by the Compliance Enforcement Authority):

Compliance Assessment Approach Specific to BAL-004-WECC-3 R2

This section must be completed by the Compliance Enforcement Authority.

Review the evidence to verify the entity has performed the following:

|  | If the entity discovered an error in the calculation of PIIhourly verify it recalculated the value of PIIhourly and adjusted the PIIaccum from the time of the error. |
| --- | --- |
|  | Verify any needed recalculations and adjustments occurred within 90 days of discovering the error. |

Compliance Summary:

(Finding Summary):

Primary Documents Supporting Finding:

Auditor Notes:

# R3 Supporting Evidence and Documentation

R3.  Each Balancing Authority shall keep its Automatic Time Error Correction (ATEC) in service, with an allowable exception period of less than or equal to an accumulated 24 hours per calendar quarter for ATEC to be out of service.

M3. Forms of acceptable evidence of compliance with Requirement R3 may include, but are not limited to:

- Dated archived files,

- Historical data,

- Other data that demonstrates the ATEC was out of service for less than 24 hours per calendar quarter.

Evidence Requested:

Provide the following evidence, or other evidence to demonstrate compliance.

For the audit assessment period that is within the Data Retention period, provide the following: - A list of all instances that ATEC was out of service including the date and time when ATEC was removed from service and when ATEC was restored to service. For the audit assessment period that is beyond the Data Retention period, if the specific data requested above is not available, provide a summary of the durations ATEC was out of service for each calendar quarter:

Registered Entity Response (Required):

Summarize, in narrative form, how you meet compliance with this requirement.

Registered Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

Audit Team Evidence Reviewed (This section to be completed by the Compliance Enforcement Authority):

Compliance Assessment Approach Specific to BAL-004-WECC-3 R3

This section must be completed by the Compliance Enforcement Authority.

Review the evidence to verify the entity has the following:

|  | ATEC was out of service for less than an accumulated 24 hours per calendar quarter. |
| --- | --- |
| Note to Auditor: The exception allowed of 24 hours in a calendar quarter equates to ATEC in service approximately 98.9% of all hours in the quarter. If entity states ATEC has been in service for all hours, review the entity’s method and calculations that ATEC had been in service 100% of all hours. |  |

Compliance Summary:

(Finding Summary):

Primary Documents Supporting Finding:

Auditor Notes:

# R4 Supporting Evidence and Documentation

R4.  Each Balancing Authority shall compute the following by 50 minutes after each hour:

4.1. PIIhourly,

4.2. PIIaccum,

4.3. Automatic Time Error Correction term (IATEC)

M4. Forms of acceptable evidence of compliance with Requirement R4 include but are not limited to any one of the following:

  - Data, screen shots from the WECC Interchange Tool (WIT) or its successor electronic confirmation tool, showing times that demonstrate compliance;

  - Data, screen shots from internal Balancing Authority tool showing times that demonstrate compliance; or,

  - Data from any other databases, spreadsheets, or displays showing times that demonstrate compliance.

Registered Entity Response (Required):

Summarize, in narrative form, how you meet compliance with this requirement.

Evidence Requested:

Provide the following evidence, or other evidence to demonstrate compliance.

For each hour of the audit assessment period within the data retention timelines, provide printouts or screenshots from WIT showing the following values: - Calculated PIIhourly - Calculated PIIaccum - IATEC - The time the calculations for the previous hour were completed. If calculations were done external to the WIT or the WIT documentation is NOT available then in addition to the above information include the following information which will be used to validate the IATEC values - Bi: Your BA Frequency Bias value for each hour - Bs: The Total Frequency Bias for the Western Interconnection - IIactual: Actual Inadvertent Energy for each hour - ΔTE: Delta Time Error for each hour

Registered Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

Audit Team Evidence Reviewed (This section to be completed by the Compliance Enforcement Authority):

Compliance Assessment Approach Specific to BAL-004-WECC-3 R4

This section must be completed by the Compliance Enforcement Authority.

Verify the following:

| Using WIT data, verify The BA computed the following by 50 minutes after each hour: |  |
| --- | --- |
|  | PIIhourly (Primary Inadvertent Interchange) |
|  | PIIaccum (Primary Inadvertent Accumulation) |
|  | Automatic Time Error Correction term (IATEC) |
| If entity does not provide data demonstrating compliance provided from WIT then continue the audit approach below using a sample methodology to verify the entity has calculated (IATEC) correctly. |  |
|  | Verify IATEC was calculated correctly for the sample hours |
|  | Verify IATEC was calculated within 50 minutes after each sampled hour. |
| Note to Auditor: If hourly checkout is not complete by 50 minutes after the hour, the entity may compute PIIhourly and IATEC with best available data to satisfy the 50 minute requirement. This can be updated later in accordance with R6 |  |

Compliance Summary:

(Finding Summary):

Primary Documents Supporting Finding:

Auditor Notes:

# R5 Supporting Evidence and Documentation

R5.  Each Balancing Authority shall be able to change its Automatic Generation Control operating mode between Flat Frequency (for blackout restoration); Flat Tie Line (for loss of frequency telemetry); Tie Line Bias; and Tie Line Bias plus Time Error Control (used in ATEC mode), to correspond to current operating conditions.

M5. Forms of acceptable evidence of compliance with Requirement R5 include but are not limited to any one of the following:

- Screen shots from Energy Management System,

- Demonstration using an off-line system.

Registered Entity Response (Required):

Summarize, in narrative form, how you meet compliance with this requirement.

Evidence Requested:

Provide the following evidence, or other evidence to demonstrate compliance.

Procedures or process for switching AGC modes Alarms or printouts of status changes between all required AGC Modes Demonstration or walkthrough of switching between AGC Modes.

Registered Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

Audit Team Evidence Reviewed (This section to be completed by the Compliance Enforcement Authority):

Compliance Assessment Approach Specific to BAL-004-WECC-3 R5

This section must be completed by the Compliance Enforcement Authority.

Review the evidence to verify the entity has the following:

| Verify the BA has the capability to change AGC operating modes to the following modes: |  |
| --- | --- |
|  | Flat Frequency Mode |
|  | Flat Tie Line Mode |
|  | Tie Line Bias Mode (without ATEC) |
|  | Tie Line Bias plus Time Error Control (used in ATEC mode) |
| Note to Auditor: Actual changes to current AGC mode are not required or encouraged to demonstrate compliance, if entity chooses to demonstrate these changes. The temporary changes for demonstration are considered compliant with the requirement and should not be counted in the 24 hour limit for operation with ATEC out of service. |  |

Compliance Summary:

(Finding Summary):

Primary Documents Supporting Finding:

Auditor Notes:

# R6 Supporting Evidence and Documentation

R6.  Each Balancing Authority shall recalculate the PIIhourly and PIIaccum for the On-Peak and Off-Peak periods whenever adjustments are made to hourly Inadvertent Interchange or ΔTE.

M6. Forms of acceptable evidence of compliance with Requirement R6 include but are not limited to any one of the following:

- Data, screen shots from the WECC Interchange Tool (WIT) or its successor electronic confirmation tool, that demonstrate compliance;

- Data, screen shots from an internal Balancing Authority tool that demonstrate compliance with; or,

- Data from any other databases, spreadsheets, displays that demonstrate compliance.

Registered Entity Response (Required):

Summarize, in narrative form, how you meet compliance with this requirement.

Question:  Were any adjustments made to hourly Inadvertent Interchange or ΔTE during the audit period?

If yes, provide description and documentation that PIIhourly and PIIaccum were recalculated.

If no, identify or describe the process used to determine such an event did not occur.

Evidence Requested:

Provide the following evidence, or other evidence to demonstrate compliance.

For any change to Hourly Inadvertent Interchange or ΔTE Provide the following - Date and Hour change correction was required - Previous value of Inadvertent Interchange - New value of Inadvertent Interchange - Previous value of ΔTE - New value of ΔTE - Previous value of PIIhourly - New value of PIIhourly - Previous value of PIIaccum - New value of PIIaccum

Registered Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

Audit Team Evidence Reviewed (This section to be completed by the Compliance Enforcement Authority):

Compliance Assessment Approach Specific to BAL-004-WECC-3 R6

This section must be completed by the Compliance Enforcement Authority.

Review the evidence to:

|  | Verify the entity recalculated the PIIhourly and PIIaccum for the On-Peak and Off-Peak periods whenever adjustments were made to hourly Inadvertent Interchange or ΔTE. |
| --- | --- |
| Note to Auditor: When any PIIhourly is corrected, then PIIaccum must also be corrected. |  |

Compliance Summary:

(Finding Summary):

Primary Documents Supporting Finding:

Auditor Notes:

# R7 Supporting Evidence and Documentation

R7.  Each Balancing Authority shall make the same adjustment to the PIIaccum as it did for any month-end meter reading adjustments to Inadvertent Interchange.

M7. Forms of acceptable evidence of compliance with Requirement R7 include but are not limited to any one of the following:

- Data, screen shots from the WECC Interchange Tool (WIT) or its successor electronic confirmation tool, that demonstrate compliance;

- Data, screen shots from an internal Balancing Authority tool that demonstrate compliance; or,

- Production of data from any other databases, spreadsheets, displays that demonstrate compliance.

Registered Entity Response (Required):

Summarize, in narrative form, how you meet compliance with this requirement.

Question:  Were any adjustments made to Inadvertent Interchange for any month-end meter readings during the audit period?

If yes, provide description and documentation that adjustments to PIIaccum were made as required.

If no, state the process used to determine such an event did not occur.

Evidence Requested:

Provide the following evidence, or other evidence to demonstrate compliance.

For any month end change to Inadvertent Interchange based on monthly meter readings Provide the following - Previous value of On-Peak and Off Peak Monthly Inadvertent Interchange - Final value of On-Peak and Off Peak Monthly Inadvertent Interchange - Previous value of On-Peak and Off Peak PIIaccum - Final Value of On-Peak and Off Peak PIIaccum

Registered Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

Audit Team Evidence Reviewed (This section to be completed by the Compliance Enforcement Authority):

Compliance Assessment Approach Specific to BAL-004-WECC-3 R7

This section must be completed by the Compliance Enforcement Authority.

Review the evidence to verify the following:

|  | If the entity adjusted Inadvertent Interchange for any month-end meter readings, verify it made the same adjustment to the PIIaccum. |
| --- | --- |
| Note to Auditor: Month-end adjustments to Inadvertent Interchange are applied as 100% PIIaccum. The 100% value was chosen for simplicity to bilaterally assign PIIaccum to both BAs, since the effect of this metering error on system frequency is not easily determined over the course of a month. |  |

Compliance Summary:

(Finding Summary):

Primary Documents Supporting Finding:

Auditor Notes:

# R8 Supporting Evidence and Documentation

R8.  Each Balancing Authority shall payback Inadvertent Interchange using ATEC rather than bilateral and unilateral payback.

M8. Forms of acceptable evidence of compliance with Requirement R8 include but are not limited to historical On-Peak and Off-Peak Inadvertent Interchange data, data from the WECC Interchange Tool, and ACE data.

Registered Entity Response (Required):

Summarize, in narrative form, how you meet compliance with this requirement.

Question:  Did any payback of Inadvertent Interchange occur through bilateral or unilateral payback during the audit period?

If yes, provide description and any associated documentation.

If no, state the process used to determine such an event did not occur.

Evidence Requested:

Provide the following evidence, or other evidence to demonstrate compliance.

Documentation showing net amount of on peak and off peak inadvertent payback accomplished though the ATEC process during the audit period. Attestation that no payback of Inadvertent Energy occurred other than through the ATEC process. If any other paybacks occurred, Identify the time, amount, applicable parties and reason for any payback of inadvertent energy through any method other than ATEC Note: any payback performed through any means and with any party outside of the ATEC application represents a non-compliance with R8.

Registered Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

Audit Team Evidence Reviewed (This section to be completed by the Compliance Enforcement Authority):

Compliance Assessment Approach Specific to BAL-004-WECC-3 R8

This section must be completed by the Compliance Enforcement Authority.

Review the evidence to verify the entity:

|  | Did not use either bilateral or unilateral methods for payback of Inadvertent Interchange. |
| --- | --- |

Compliance Summary:

(Finding Summary):

Primary Documents Supporting Finding:

Auditor Notes:

Supplemental Information

Other - The list of questions above is not all inclusive of evidence required to show compliance with the Reliability Standard. Provide additional information here, as necessary that demonstrates compliance with this Reliability Standard.

Standard: BAL-004-WECC-02 — Automatic Time Error Correction

Revision History

| Date | Reviewers | Revision Description |
| --- | --- | --- |
| August 2018 | Compliance Staff | Initial version for revised BAL-004-WECC-3 |

WECC developed this Reliability Standard Audit Worksheet (RSAW) language in order to facilitate WECC and the Regional Entities’ assessment of a registered entity’s compliance with this Reliability Standard.  The WECC RSAW language is written to specific versions of each WECC Reliability Standard.  Entities using this RSAW should choose the version of the RSAW applicable to the Reliability Standard being assessed.  While the information included in this RSAW provides some of the methodology that WECC has elected to use to assess compliance with the requirements of the Reliability Standard, this document should not be treated as a substitute for the Reliability Standard or viewed as additional Reliability Standard requirements.  In all cases, the Regional Entity should rely on the language contained in the Reliability Standard itself, and not on the language contained in this RSAW, to determine compliance with the Reliability Standard. WECC Reliability Standards are updated frequently, and this RSAW may not necessarily be updated with the same frequency.  Therefore, it is imperative that entities treat this RSAW as a reference document only, and not as a substitute or replacement for the Reliability Standard.  It is the responsibility of the registered entity to verify its compliance with the latest approved version of the Reliability Standards, by the applicable governmental authority, relevant to its registration status.

The WECC RSAW language contained within this document provides a non-exclusive list, for informational purposes only, of examples of the types of evidence a registered entity may produce or may be asked to produce to demonstrate compliance with the Reliability Standard.  A registered entity’s adherence to the examples contained within this RSAW does not necessarily constitute compliance with the applicable Reliability Standard, and WECC and the Regional Entity using this RSAW reserves the right to request additional evidence from the registered entity that is not included in this RSAW.  Additionally, this RSAW includes excerpts from FERC Orders and other regulatory references.  The FERC Order cites are provided for ease of reference only, and this document does not necessarily include all applicable Order provisions.  In the event of a discrepancy between FERC Orders, and the language included in this document, FERC Orders shall prevail.

Compliance Assessment Date(s): The date(s) the actual compliance assessment (on-site audit, off-site spot check, etc.) occurs.