## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-07-18
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 103.7 |  | 84.1 |  | 73.5 | 82.6
Low: |  | 64 |  | 61.9 |  | 59.8 | 70.8
Conditions: |  | Sunny |  | Patchy rain nearby |  | Sunny | Moderate rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 83715.0697 | 17 | 11404.4156 |  | 5441.4795 | 18783.83
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 25125.5814 | 17 | 1975 |  | 1633.1628 | 8690.7
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 46851.2056 | 19 | 4566.75 |  | 3468.75 | 15158.46
Includes CFE, CISO & LDWP
WI TOTAL |  | 155209.2795 | 18 | 17661.4592 |  | 9376.4802 | 41096.99
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 85830 | 17 | 16397
SRSG |  | 25516 | 17 | 4070
CAMX* |  | 45004 | 18 | 6246
WI TOTAL |  | 155737 | 17 | 27100
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 500 MW | 2024-07-19
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 84.1
Low (F) | 61.9
Patchy rain nearby |  | 83715.0697 | 92.3% | 92.3% | 7.696% | 83,715 MW
|  | 25125.5814 | 84.8% | 84.8% | 15.2% | 25,126 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 88.6 | 46851.2056 | 76.31% | 76.31% | 23.69% | 46,851 MW
Low (F) | 55.1
Sunny
Billings, MT
High (F) | 94
Low (F) | 61.4
Patchy rain nearby
Loveland, CO
High (F) | 90.8
Low (F) | 55.2
Patchy rain nearby
Los Angeles, CA
High (F) | 78.4
Low (F) | 67.9
Sunny
Phoenix, AZ
High (F) | 109.3
Low (F) | 92.3
Patchy rain nearby
Salt Lake City, UT
High (F) | 96.2
Low (F) | 64.5
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
83,715 MW
25,126 MW
46,851 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend