## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-07-19
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 106.3 |  | 83.9 |  | 72 | 86.1
Low: |  | 67.3 |  | 57.7 |  | 60.9 | 65.5
Conditions: |  | Sunny |  | Patchy rain nearby |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 82409.3393 | 17 | 11306.6651 |  | 5356.6071 | 19701.3
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 24968.7215 | 17 | 1838 |  | 1622.9669 | 8263.38
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 49263.2223 | 19 | 4289.95 |  | 3576.95 | 14557.66
Includes CFE, CISO & LDWP
WI TOTAL |  | 156027.0854 | 18 | 17373.6322 |  | 9368.6162 | 40930.34
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 85115 | 16 | 15118
SRSG |  | 25318 | 17 | 4044
CAMX* |  | 47182 | 18 | 6068
WI TOTAL |  | 157328 | 17 | 25195
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 500 MW | 2024-07-19
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 83.9
Low (F) | 57.7
Patchy rain nearby |  | 82409.3393 | 90.86% | 90.86% | 9.136% | 82,409 MW
|  | 24968.7215 | 84.27% | 84.27% | 15.73% | 24,969 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 89.3 | 49263.2223 | 80.24% | 80.24% | 19.76% | 49,263 MW
Low (F) | 55.1
Sunny
Billings, MT
High (F) | 93.9
Low (F) | 63.3
Patchy rain nearby
Loveland, CO
High (F) | 92.4
Low (F) | 62.4
Patchy rain nearby
Los Angeles, CA
High (F) | 82.6
Low (F) | 67.9
Sunny
Phoenix, AZ
High (F) | 106.9
Low (F) | 89.4
Patchy rain nearby
Salt Lake City, UT
High (F) | 94.2
Low (F) | 64.3
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
82,409 MW
24,969 MW
49,263 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend