## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-07-22
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 107.8 |  | 89.2 |  | 70.4 | 89.4
Low: |  | 69 |  | 60.8 |  | 58.6 | 67.4
Conditions: |  | Sunny |  | Sunny |  | Sunny | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 83280.4358 | 17 | 10720.9217 |  | 5413.2283 | 18062.39
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 23693.7146 | 17 | 1949 |  | 1540.0914 | 7774.56
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 50717.0613 | 19 | 4485.6 |  | 3683.6 | 13228.76
Includes CFE, CISO & LDWP
WI TOTAL |  | 156825.5569 | 18 | 17359.3086 |  | 9713.3096 | 37640.71
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 80786 | 17 | 15214
SRSG |  | 24099 | 15 | 4102
CAMX* |  | 44270 | 18 | 6263
WI TOTAL |  | 146679 | 17 | 25511
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 1000 MW
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 89.2
Low (F) | 60.8
Sunny |  | 83280.4358 | 91.82% | 91.82% | 8.175% | 83,280 MW
|  | 23693.7146 | 79.97% | 79.97% | 20.03% | 23,694 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 79.7 | 50717.0613 | 82.6% | 82.6% | 17.4% | 50,717 MW
Low (F) | 52.4
Sunny
Billings, MT
High (F) | 96
Low (F) | 64.1
Sunny
Loveland, CO
High (F) | 82.9
Low (F) | 55.9
Sunny
Los Angeles, CA
High (F) | 79
Low (F) | 69
Sunny
Phoenix, AZ
High (F) | 106.3
Low (F) | 87.9
Sunny
Salt Lake City, UT
High (F) | 95.9
Low (F) | 63.5
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
83,280 MW
23,694 MW
50,717 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend