## Sheet1
WECC Interconnection Daily Status Report
Date: | 2024-07-25
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 104.3 |  | 74.2 |  | 64.6 | 83.9
Low: |  | 72.8 |  | 49.2 |  | 54.4 | 71
Conditions: |  | Sunny |  | Patchy rain nearby |  | Patchy rain nearby | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 79984.3489 | 17 | 9057.8218 |  | 5198.9827 | 20958.59
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 25396.2423 | 17 | 2000 |  | 1650.7557 | 8404.67
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 52537.2218 | 19 | 4611.36 |  | 3618.36 | 15686.61
Includes CFE, CISO & LDWP
WI TOTAL |  | 157022.7563 | 18 | 15881.3058 |  | 9507.1448 | 43391.87
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 85157 | 16 | 14414
SRSG |  | 26185 | 16 | 3804
CAMX* |  | 53536 | 17 | 6354
WI TOTAL |  | 164213 | 17 | 24834
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW |  | 1000 MW
|  |  | W>E | 1200 MW |  | 850 MW
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW |  | 2400 MW
|  |  | S>N | 3000 MW
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2024-07-25 | WACM | Path 30 |  | 4 | 5
2024-07-25 | WACM | Path 31 |  | 4 | 3

## Map
Weather Information
Calgary, AB
High (F) | 74.2
Low (F) | 49.2
Patchy rain nearby |  | 79984.3489 | 88.19% | 88.19% | 11.81% | 79,984 MW
|  | 25396.2423 | 85.71% | 85.71% | 14.29% | 25,396 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 75.3 | 52537.2218 | 85.57% | 85.57% | 14.43% | 52,537 MW
Low (F) | 50.1
Sunny
Billings, MT
High (F) | 99.1
Low (F) | 74.3
Patchy rain nearby
Loveland, CO
High (F) | 96.4
Low (F) | 62.3
Sunny
Los Angeles, CA
High (F) | 82.3
Low (F) | 69.3
Sunny
Phoenix, AZ
High (F) | 108.9
Low (F) | 86.6
Patchy rain nearby
Salt Lake City, UT
High (F) | 90.4
Low (F) | 65.6
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
79,984 MW
25,396 MW
52,537 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend