# Applied Change Files

The following changes have been made to the 2032 ADS PCM V2.3 case to create the 2032 ADS PCM V2.3.2 case:

| Change File Name | Description |
| --- | --- |
| 2022-11-17\_B2H solved EPC update and Monitoring | * Ensure all components are monitored for B2H. Also adds the bus data associated with the solved power flow case solution. |
| 2022-11-18\_Retire Colstrip 3 in 2025\_TB | * Retire Colstrip 3 in 2025 |
| 2022-11-30\_Clearwater\_Wind\_Addition | * Addition of Clearwater wind 750mw distributed to busses that are consistent with the 2032 HS1 PF. Used hourly profiles created by NREL based on the Colstrip 500kv bus location, since that is the point of interconnection. |
| 2022-12-2\_2018 CA wind shapes based off actuals\_TB | * Update the CA wind shapes based on actual data for certain areas. Profiles have “WT-CISO” in the name. |
| 2022-12-2\_Updated Planned Wind to B-1 Profiles\_JJ | * Updated planned wind units to use the B-1 planned wind shapes |